## How to Use This Tool
LAST UPDATED: May 1, 2025
Health & Wellness Crosswalk
Meet Federal requirements and establish operational health and wellness goals by exploring how the Federal Guiding Principles for Sustainable Federal Buildings relate to standards, guidelines, and building rating systems. Choose the criteria that best suit your project to promote health and wellness as optimally as possible.
How to Use This Tool
Click on the "Make Your Selections" tab, then make your selections in Column A to filter by Category and/or Guiding Principle. Use the CTRL key to make multiple selections. The table will autopopulate to indicate which certification system does (indicated with a checkmark icon) or does not (no checkmark icon) support each Guiding Principle. For more details, click the checkmark icon to navigate to another tab in this file with a full explanation. At the top of the tab there is a "Back to 'Make Your Selections'" link to return to the "Make Your Selections" tab. To clear your selections, click the icon at the top right of the "Category" and "Guiding Principle" boxes. To preserve links, do NOT sort the table in the "Make Your Selections" tab.

## Make Your Selections
Make Your Selections Below | Category | Guiding Principle | ASHRAE 189.1 | DoD UFC 1-200-02 | Fitwel v2.1 | Green Globes | GSA PBS-P100 | LEED v4.1 | WELL v2
| Air Quality and Control of Temperature | GP IV. Enhance the Indoor Environment: Ventilation and Thermal Comfort NC&M Criteria 4.1; EB Criteria 4.1 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
| Air Quality and Exposure to Mold and Mildew | GP IV. Enhance the Indoor Environment: Moisture and Mold Control NC&M Criteria 4.5; EB Criteria 4.5 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
| Air Quality and Off-Gassing and Exposure to VOCs | GP IV. Enhance the Indoor Environment: Low-Emitting Materials and Products NC&M Criteria 4.3; EB Criteria 4.3 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
| Air Quality and Plants | GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 |  | ✓ | ✓ |  |  | ✓ | ✓
| Air Quality in Occupied Buildings under Construction | GP IV. Enhance the Indoor Environment: Indoor Air Quality during Construction and Operations NC&M Criteria 4.6; EB Criteria 4.6 | ✓ | ✓ | ✓ | ✓ |  | ✓ | ✓
| Chemical Exposure from Pest Management Programs | GP IV. Enhance the Indoor Environment: Integrated Pest Management NC&M Criteria 4.8; EB Criteria 4.8 |  | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
| Daylight and Circadian Rhythm | GP IV. Enhance the Indoor Environment: Daylighting and Lighting Controls NC&M Criteria 4.2; EB Criteria 4.2 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
| Diet | GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Healthy Dining Options) NC&M Criteria 4.9; EB Criteria 4.9 |  | ✓ | ✓ |  |  | ✓ | ✓
| Diet | GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Potable Water) NC&M Criteria 4.9; EB Criteria 4.9 |  |  | ✓ | ✓ |  | ✓ | ✓
| Exercise | GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Stairwell Vertical Circulation) NC&M Criteria 4.9; EB Criteria 4.9 |  | ✓ | ✓ |  | ✓ | ✓ | ✓
| Exercise | GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Active Workstations) NC&M Criteria 4.9; EB Criteria 4.9 |  | ✓ | ✓ |  |  | ✓ | ✓
| Exercise | GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Access to Bicycle Commuter Facilities) NC&M Criteria 4.9; EB Criteria 4.9 | ✓ | ✓ | ✓ | ✓ |  | ✓ | ✓
| Exercise | GP I. Employ Integrated Design Principles: Integrated Design and Management (Mass Transit/Public Transportation Access & Walkability) NC&M Criteria 1.1; EB Criteria 1.1 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
| Exposure to Radon | GP IV. Enhance the Indoor Environment: Radon Mitigation NC&M Criteria 4.4; EB Criteria 4.4 | ✓ |  |  | ✓ | ✓ | ✓ | ✓
| General Health & Wellness | GP I. Employ Integrated Design Principles: Integrated Design and Management (Integrated team approach) NC&M Criteria 1.1; EB Criteria 1.1 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
| Potential Exposure and Risk to Occupants | GP V. Reduce the Environmental Impact of Materials: Products NC&M Criteria 5.3; EB Criteria 5.3 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
| Smoking Reduction / Cessation | GP IV. Enhance the Indoor Environment: Environmental Smoking Control NC&M Criteria 4.7; EB Criteria 4.7 | ✓ | ✓ | ✓ | ✓ |  | ✓ | ✓
| Views of Nature | GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 |  | ✓ | ✓ |  | ✓ | ✓ | ✓
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.

## ASHRAE 189.1
Back to 'Make Your Selections'
Guiding Principle | ASHRAE 189.1 (2020)
Air Quality and Control of Temperature GP IV. Enhance the Indoor Environment: Ventilation and Thermal Comfort NC&M Criteria 4.1; EB Criteria 4.1 | Chapter 8 8.3.1.1 Ventilation: Healthcare facilities - must comply with ASHRAE Standard 170; ASHRAE Standard 62.1 sections 6.1.1 and 6.2 must be used to determine minimum zone and intake outdoor airflow rates 8.3.2 Thermal Environmental Conditions for Human Occupancy: Must comply with ASHRAE 55 section 6.1 and 6.2
Air Quality and Exposure to Mold and Mildew GP IV. Enhance the Indoor Environment: Moisture and Mold Control NC&M Criteria 4.5; EB Criteria 4.5 | Chapter 8 8.3.1.8 Building Entrances: All building entrances shall employ an entryway floor system comprising a scraper surface, an absorption surface, and a finishing surface 8.3.6 Moisture Control: Either a dynamic heat and moisture analysis, in accordance with ANSI / ASHRAE Standard 160 or steady-state water vapor transmission analysis, in accordance with Sections 8.3.6.1 and 8.3.6.2, shall be performed on above-grade portions of the building envelope and on interior partitions. Chapter 10 10.3.1.6 Moisture Control
Air Quality and Off-Gassing and Exposure to VOCs GP IV. Enhance the Indoor Environment: Low-Emitting Materials and Products NC&M Criteria 4.3; EB Criteria 4.3 | Chapter 8 8.4.2 Materials: Reported emissions or volatile organic compound (VOC) contents specified in the following subsections shall be from a representative product sample and determined with each product reformulation or at a minimum of every three years 8.5.2 Materials: Emissions of all materials listed below and used within the building shall be modeled for individual VOC concentrations
Air Quality and Plants GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9
Air Quality in Occupied Buildings under Construction GP IV. Enhance the Indoor Environment: Indoor Air Quality during Construction and Operations NC&M Criteria 4.6; EB Criteria 4.6 | Chapter 10 10.3.1.5 IAQ Construction Management 10.3.1.7 Construction Activity Pollution Prevention: Idling of Construction Vehicles 10.3.1.8 Construction Activity Pollution Prevention: Protection of Occupied Areas
Chemical Exposure from Pest Management Programs GP IV. Enhance the Indoor Environment: Integrated Pest Management NC&M Criteria 4.8; EB Criteria 4.8
Daylight and Circadian Rhythm GP IV. Enhance the Indoor Environment: Daylighting and Lighting Controls NC&M Criteria 4.2; EB Criteria 4.2 | Chapter 8 8.3.8 Occupant Override 8.4.1 Daylighting 8.5.1 Daylight Simulation
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Healthy Dining Options) NC&M Criteria 4.9; EB Criteria 4.9
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Potable Water) NC&M Criteria 4.9; EB Criteria 4.9
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Stairwell Vertical Circulation) NC&M Criteria 4.9; EB Criteria 4.9
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Active Workstations) NC&M Criteria 4.9; EB Criteria 4.9
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Access to Bicycle Commuter Facilities) NC&M Criteria 4.9; EB Criteria 4.9 | Chapter 5 5.3.7.1.2 Bicycle Paths 5.3.7.2 Bicycle Parking
Exercise GP I. Employ Integrated Design Principles: Integrated Design and Management (Mass Transit/Public Transportation Access & Walkability) NC&M Criteria 1.1; EB Criteria 1.1 | Chapter 5 5.3.7 Mitigation of Transportation Impacts
Exposure to Radon GP IV. Enhance the Indoor Environment: Radon Mitigation NC&M Criteria 4.4; EB Criteria 4.4 | Chapter 8 8.3.4 Soil-Gas Control: Soil-gas entry into enclosed spaces that are immediately above crawlspaces, slabs-on-grade, and basement slabs shall be controlled in accordance with sections 8.3.4.1 or 8.3.4.2 Chapter 10 10.3.1.9 Soil-Gas Control: The building shall be tested, postconstruction, for radon in accordance with ANSI/AARST MALB. The indoor radon concentration shall be below 2.7 pCi/L
General Health & Wellness GP I. Employ Integrated Design Principles: Integrated Design and Management (Integrated team approach) NC&M Criteria 1.1; EB Criteria 1.1 | Informative Appendix F: Integrated Design
Potential Exposure and Risk to Occupants GP V. Reduce the Environmental Impact of Materials: Products NC&M Criteria 5.3; EB Criteria 5.3 | Chapter 9 9.4.1 Reduced impact Materials 9.5.1 Life-Cycle Assessment (LCA)
Smoking Reduction / Cessation GP IV. Enhance the Indoor Environment: Environmental Smoking Control NC&M Criteria 4.7; EB Criteria 4.7 | Chapter 8 8.3.1.7 Environmental Tobacco Smoke
Views of Nature GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9

## DoD UFC 1-200-02
Back to 'Make Your Selections'
Guiding Principle | DoD UFC 1-200-02 (Dec 2020)
Air Quality and Control of Temperature GP IV. Enhance the Indoor Environment: Ventilation and Thermal Comfort NC&M Criteria 4.1; EB Criteria 4.1 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.1 Ventilation and Thermal Comfort] Existing Buildings Section 3-5 Enhance Indoor Environmental Quality [3-5.1 Ventilation and Thermal Comfort]
Air Quality and Exposure to Mold and Mildew GP IV. Enhance the Indoor Environment: Moisture and Mold Control NC&M Criteria 4.5; EB Criteria 4.5 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.3.1 Moisture Control] Existing Buildings Section 3-5.3 Indoor Air Quality [3-5.3.1 Moisture Control]
Air Quality and Off-Gassing and Exposure to VOCs GP IV. Enhance the Indoor Environment: Low-Emitting Materials and Products NC&M Criteria 4.3; EB Criteria 4.3 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.3.2 Reduce Volatile Organic Compounds (VOC)(Low-Emitting Materials)] Existing Buildings Section 3-5 Enhance Indoor Environmental Quality [3-5.3.2 Reduce Volatile Organic Compounds (VOC)(Low-Emitting Materials)]
Air Quality and Plants GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.4 Occupant Health and Wellness] Existing Buildings Section 3-5 Enhance Indoor Environmental Quality [3-5.4 Occupant Health and Wellness] Appendix B - Best Practices [B-3.3 Connection to Nature]
Air Quality in Occupied Buildings under Construction GP IV. Enhance the Indoor Environment: Indoor Air Quality during Construction and Operations NC&M Criteria 4.6; EB Criteria 4.6 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.3.3 Protect Indoor Air Quality during Construction] Existing Buildings Section 3-5 Enhance Indoor Environmental Quality [3-5.3.3 Protect Indoor Air Quality during Construction] Appendix B Best Practices [B-2.1 IAQ for Work in Existing Buildings]
Chemical Exposure from Pest Management Programs GP IV. Enhance the Indoor Environment: Integrated Pest Management NC&M Criteria 4.8; EB Criteria 4.8 | New Construction Section 3-5 Enhance Indoor Environmental Quality [3-5.3.3 Integrated Pest Management]
Daylight and Circadian Rhythm GP IV. Enhance the Indoor Environment: Daylighting and Lighting Controls NC&M Criteria 4.2; EB Criteria 4.2 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.2 Daylighting and Lighting Controls] Existing Buildings Section 2-5 Enhance Indoor Environmental Quality [3-5.2 Daylighting and Lighting Controls] Appendix C: Projects Impacting a Historic Building or District [C-1.4 Daylighting]
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Healthy Dining Options) NC&M Criteria 4.9; EB Criteria 4.9 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.4 Occupant Health and Wellness] Existing Buildings Section 3-5 Enhance Indoor Environmental Quality [3-5.4 Occupant Health and Wellness]
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Potable Water) NC&M Criteria 4.9; EB Criteria 4.9
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Stairwell Vertical Circulation) NC&M Criteria 4.9; EB Criteria 4.9 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.4 Occupant Health and Wellness] Existing Buildings Section 3-5 Enhance Indoor Environmental Quality [3-5.4 Occupant Health and Wellness] Appendix B: Best Practices [B-3.2 Promoting Voluntary Physical Activity]
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Active Workstations) NC&M Criteria 4.9; EB Criteria 4.9 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.4 Occupant Health and Wellness] Existing Buildings Section 3-5 Enhance Indoor Environmental Quality [3-5.4 Occupant Health and Wellness] Appendix B: Best Practices [B-3.1 Sit-Stand Workstations]
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Access to Bicycle Commuter Facilities) NC&M Criteria 4.9; EB Criteria 4.9 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.4 Occupant Health and Wellness] Existing Buildings Section 3-5 Enhance Indoor Environmental Quality [3-5.4 Occupant Health and Wellness] Appendix B: Best Practices [B-3.2 Promoting Voluntary Physical Activity]
Exercise GP I. Employ Integrated Design Principles: Integrated Design and Management (Mass Transit/Public Transportation Access & Walkability) NC&M Criteria 1.1; EB Criteria 1.1 | New Construction Section 2-2 Employ Integrated Design Principles [2-2.1.4 Site Integration and Design of Building]
Exposure to Radon GP IV. Enhance the Indoor Environment: Radon Mitigation NC&M Criteria 4.4; EB Criteria 4.4
General Health & Wellness GP I. Employ Integrated Design Principles: Integrated Design and Management (Integrated team approach) NC&M Criteria 1.1; EB Criteria 1.1 | New Construction Section 2-2 Employ Integrated Design Principles [2-2.1.4 Site Integration and Design of Building] Existing Buildings Section 3-2 Employ Integrated Assessment, Operation, and Management Principles [3-2.1 Integrated Assessment, Operation, and Management]
Potential Exposure and Risk to Occupants GP V. Reduce the Environmental Impact of Materials: Products NC&M Criteria 5.3; EB Criteria 5.3 | New Construction Section 2-6 Reduce Environmental Impact of Materials [2-6.1 Environmentally Preferable Products] Existing Buildings Section 3-6 Reduce Environmental Impact of Materials [3-6.1 Environmentally Preferable Products] Appendix B: Best Practices [B-5 Other Sustainable Products]
Smoking Reduction / Cessation GP IV. Enhance the Indoor Environment: Environmental Smoking Control NC&M Criteria 4.7; EB Criteria 4.7 | New Construction Section 2-5 Enhance Indoor Environmental Quality [2-5.3.4 Environmental Tobacco Smoke Control] Existing Buildings Section 3-5 Enhance Indoor Environmental Quality [3-5.3.4 Environmental Tobacco Smoke Control]
Views of Nature GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 | Appendix B: Best Practices [B-3.3 Connection to Nature]

## Fitwel v2.1
Back to 'Make Your Selections'
Guiding Principle | Fitwel v2.1
Air Quality and Control of Temperature GP IV. Enhance the Indoor Environment: Ventilation and Thermal Comfort NC&M Criteria 4.1; EB Criteria 4.1 | Workplace Scorecards Indoor Environments 6.1 Tobacco- and Smoke-Free Environment 6.2 Asbestos-Safe Property 6.3 Indoor Air Quality (IAQ) Policy 6.4 Indoor Air Quality (IAQ) Testing 6.5 Indoor Air Quality (IAQ) Testing Results 6.6 Green Purchasing Policy 6.7 Chemical Storage Ventilation 6.8 Integrated Pest Management Workspaces 7.5 Thermal Control Commercial Site Scorecard Site Composition and Location 1.8 Project Location Site Management 4.2 Integrated Pest Management 4.3 Green Purchasing Policy Buildings Design 5.1 Tobacco- and Smoke-Free Signage 5.4 Building Design Guidelines 5.5 Building Operational Guidelines Environmental Policies and Procedures 6.2 Heat Island Mitigation 6.5 Idle Reduction 6.6 Air Quality 6.7 Air Quality Testing 6.8 Air Quality Results Site Safety 11.3 Construction Safety 11.5 Chemical Storage 11.6 Hazardous Waste Management
Air Quality and Exposure to Mold and Mildew GP IV. Enhance the Indoor Environment: Moisture and Mold Control NC&M Criteria 4.5; EB Criteria 4.5 | Workplace Scorecards Indoor Environments 6.2 Asbestos-Safe Property 6.3 Indoor Air Quality (IAQ) Policy 6.4 Indoor Air Quality (IAQ) Testing Commercial Site Scorecard Buildings Design 5.4 Building Design Guidelines 5.5 Building Operational Guidelines Environmental Policies and Procedures 6.1 Water Management Plan 6.2 Heat Island Mitigation 6.6 Air Quality 6.7 Air Quality Testing Site Safety 11.3 Construction Safety 11.4 Flood Damage Mitigation
Air Quality and Off-Gassing and Exposure to VOCs GP IV. Enhance the Indoor Environment: Low-Emitting Materials and Products NC&M Criteria 4.3; EB Criteria 4.3 | Workplace Scorecards Indoor Environments 6.3 Indoor Air Quality (IAQ) Policy 6.4 Indoor Air Quality (IAQ) Testing 6.5 Indoor Air Quality (IAQ) Testing Results 6.6 Green Purchasing Policy Commercial Site Scorecard Site Management 4.3 Green Purchasing Policy Buildings Design 5.4 Building Design Guidelines 5.5 Building Operational Guidelines Environmental Policies and Procedures 6.2 Heat Island Mitigation 6.5 Idle Reduction 6.6 Air Quality 6.7 Air Quality Testing 6.8 Air Quality Results Site Safety 11.3 Construction Safety
Air Quality and Plants GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 | Workplace Scorecards Outdoor Spaces 3.1 Outdoor Space Amenities 3.4 Restorative Garden 3.6 Fruit and Vegetable Garden Indoor Environments 7.2 Views of Nature Commercial Site Scorecard Site Composition and Location 1.7 Open Space Preservation Outdoor Spaces 3.1 Outdoor Space Amenities 3.6 Restorative Garden 3.7 Fruit and Vegetable Garden 3.9 Street Trees Buildings Design 5.4 Building Design Guidelines 5.5 Building Operational Guidelines
Air Quality in Occupied Buildings under Construction GP IV. Enhance the Indoor Environment: Indoor Air Quality during Construction and Operations NC&M Criteria 4.6; EB Criteria 4.6 | Workplace Scorecards Indoor Environments 6.2 Asbestos-Safe Property 6.3 Indoor Air Quality (IAQ) Policy 6.4 Indoor Air Quality (IAQ) Testing 6.5 Indoor Air Quality (IAQ) Testing Results Commercial Site Scorecard Buildings Design 5.4 Building Design Guidelines 5.5 Building Operational Guidelines Environmental Policies and Procedures 6.6 Air Quality 6.7 Air Quality Testing 6.8 Air Quality Results Site Safety 11.3 Construction Safety
Chemical Exposure from Pest Management Programs GP IV. Enhance the Indoor Environment: Integrated Pest Management NC&M Criteria 4.8; EB Criteria 4.8 | Workplace Scorecards Indoor Environments 6.6 Green Purchasing Policy 6.7 Chemical Storage Ventilation 6.8 Integrated Pest Management Commercial Site Scorecard Site Management 4.2 Integrated Pest Management 4.3 Green Purchasing Policy Buildings Design 5.5 Building Operational Guidelines Site Safety 11.3 Construction Safety 11.5 Chemical Storage 11.6 Hazardous Waste Management
Daylight and Circadian Rhythm GP IV. Enhance the Indoor Environment: Daylighting and Lighting Controls NC&M Criteria 4.2; EB Criteria 4.2 | Workplace Scorecards Outdoor Spaces 3.1 Outdoor Space Amenities 3.4 Restorative Garden Workspaces 7.1 Access to Daylight 7.2 Views of Nature Commercial Site Scorecard Outdoor Spaces 3.1 Outdoor Space Amenities 3.6 Restorative Garden Buildings Design 5.4 Building Design Guidelines Environmental Policies and Procedures 6.3 Light Pollution Mitigation
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Healthy Dining Options) NC&M Criteria 4.9; EB Criteria 4.9 | Workplace Scorecards Outdoor Spaces 3.5 Farmers Market 3.6 Crop Share Drop-Off Cafeterias and Prepared Food Retail 10.1 Healthy Food and Beverage Policy for Prepared Food Areas 10.2 Choice Architecture Practices 10.3 Pricing Incentives Vending Machines and Snack Bars 11.1 Healthy Food and Beverage Policy for Vending Machines and Snack Bars 11.2 Choice Architecture Practices for Vending Machines and Snack Bars 11.3 Pricing Incentives for Vending Machines and Snack Bars Commercial Site Scorecard Healthy Food Access 10.1 Healthy Food and Beverage Policy 10.2 Healthy Food and Beverage Practices 10.3 Farmers Market 10.4 Crop Share Drop-Off 10.5 Healthy Vending Machine and Snack Bar Policy 10.6 Healthy Vending Machine & Snack Bar Practices
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Potable Water) NC&M Criteria 4.9; EB Criteria 4.9 | Workplace Scorecards Water Supply 9.1 Universally Accessible Water Supply 9.2 Water Bottle Refilling Station 9.3 Water Quality Cafeterias and Prepared Food Retail 10.4 Water Access Vending Machines and Snack Bars 11.4 Water Access Commercial Site Scorecard Water Access 9.1 Universally Accessible Water Supply 9.2 Water Bottle Refilling Station 9.3 Water Quality
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Stairwell Vertical Circulation) NC&M Criteria 4.9; EB Criteria 4.9 | Workplace Scorecards Stairs 5.1 Stair Access 5.2 Stair Location 5.3 Stair Design 5.4 Stair Signage 5.5 Stair Visibility 5.6 Stair Safety Commercial Site Scorecard Buildings Design 5.4 Buildings Design Guidelines
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Active Workstations) NC&M Criteria 4.9; EB Criteria 4.9 | Workplace Scorecards Workspaces 7.4 Active Workstations
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Access to Bicycle Commuter Facilities) NC&M Criteria 4.9; EB Criteria 4.9 | Workplace Scorecards Building Access 2.3 Bicycle Parking 2.4 Active Commuter Showers Commercial Site Scorecard Access 2.3 Bike Lanes 2.5 Bicycle Parking
Exercise GP I. Employ Integrated Design Principles: Integrated Design and Management (Mass Transit/Public Transportation Access & Walkability) NC&M Criteria 1.1; EB Criteria 1.1 | Workplace Scorecards Location 1.1 - 1.3 Walkability 1.4 Proximity to Transit Building Access 2.1 Pedestrian Route to Transit 2.2 Commuter Survey 2.3 Bicycle Parking 2.4 Active Commuter Shower 2.5 Incentivizing Transit 2.6 Efficiency Parking Entrances and Ground Floor 4.2 Main Pedestrian Entrance 4.3 Main Entrance Amenities 4.5 Publicly Accessible Use 4.6 Activate Pedestrian Areas 4.7 Local Amenities Display Commercial Site Scorecard Site Composition and Location 1.1 Transit Access 1.2 Community Destinations 1.3 Pedestrian Network 1.4 Efficient Parking 1.5 Brownfield Remediation 1.6 Infill Development 1.7 Open Space Preservation 1.8 Project Location Site Access 2.1 Universal Accessibility 2.2 Transit Stops 2.3 Bicycle Lanes 2.4 Commuter Survey 2.5 Bicycle Parking 2.6 Wayfinding Buildings Design 5.4 Building Design Guidelines
Exposure to Radon GP IV. Enhance the Indoor Environment: Radon Mitigation NC&M Criteria 4.4; EB Criteria 4.4
General Health & Wellness GP I. Employ Integrated Design Principles: Integrated Design and Management (Integrated team approach) NC&M Criteria 1.1; EB Criteria 1.1 | Workplace Scorecards Shared Spaces 8.12 Occupant Satisfaction Survey 8.13 Stakeholder Collaboration Process Commercial Site Scorecard Community Relations 7.2 Employment Practices 7.3 Stakeholder Collaboration Process Shared Site Amenities 8.3 Occupant Satisfaction Survey
Potential Exposure and Risk to Occupants GP V. Reduce the Environmental Impact of Materials: Products NC&M Criteria 5.3; EB Criteria 5.3 | Workplace Scorecards Indoor Environments 6.3 Indoor Air Quality Policy 6.4 Indoor Air Quality Testing 6.5 Indoor Air Quality Testing Results 6.6 Green Purchasing Policy 6.7 Chemical Storage Ventilation Entrances and Ground Floor 4.8 Entryway Systems Commercial Site Scorecard Site Management 4.3 Green Purchasing Policy Buildings Design 5.5 Building Operational Guidelines
Smoking Reduction / Cessation GP IV. Enhance the Indoor Environment: Environmental Smoking Control NC&M Criteria 4.7; EB Criteria 4.7 | Workplace Scorecards Outdoor Spaces 3.8 Tobacco- and Smoke-Free Outdoor Spaces Entrances and Ground Floor 4.1 Tobacco- and Smoke-Free Signage Indoor Environment 6.1 Tobacco- and Smoke-Free Environment Commercial Site Scorecards Outdoor Spaces 3.8 Tobacco- and Smoke-Free Outdoor Spaces Buildings Designs 5.1 Tobacco- and Smoke-Free Signage 5.5 Building Operational Guidelines
Views of Nature GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 | Workplace Scorecards Workspaces 7.2 Views of Nature Commercial Site Scorecard Outdoor Spaces 3.9 Street Trees Buildings Design 5.4 Building Design Guidelines

## Green Globes
Back to 'Make Your Selections'
Guiding Principle | Green Globes EB (2023) and NC (2021)
Air Quality and Control of Temperature GP IV. Enhance the Indoor Environment: Ventilation and Thermal Comfort NC&M Criteria 4.1; EB Criteria 4.1 | New Construction 6.1 Air Ventilation and Quality 6.4 Thermal Comfort Existing Buildings 6.1 Indoor Air Quality Systems and Measures 6.5 Thermal Comfort
Air Quality and Exposure to Mold and Mildew GP IV. Enhance the Indoor Environment: Moisture and Mold Control NC&M Criteria 4.5; EB Criteria 4.5 | New Construction 1.4 Moisture Control Analysis Existing Buildings 6.2.4 Mold Detection and Abatement
Air Quality and Off-Gassing and Exposure to VOCs GP IV. Enhance the Indoor Environment: Low-Emitting Materials and Products NC&M Criteria 4.3; EB Criteria 4.3 | New Construction 6.2.1 Volatile Organic Compounds Existing Buildings 6.1.4.3 Is there a policy and procedure for maintaining the air quality that includes the following components: Using low-emitting products and materials that have conforming VOC content limits and low VOC emissions for maintenance and cycle renovations?
Air Quality and Plants GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9
Air Quality in Occupied Buildings under Construction GP IV. Enhance the Indoor Environment: Indoor Air Quality during Construction and Operations NC&M Criteria 4.6; EB Criteria 4.6 | New Construction 6.2 Source Control and Measurement of Indoor Pollutants 6.2.2 Pre-Occupancy Indoor Air Quality Testing Existing Buildings 6.1.3 Control of Pollutants at Source
Chemical Exposure from Pest Management Programs GP IV. Enhance the Indoor Environment: Integrated Pest Management NC&M Criteria 4.8; EB Criteria 4.8 | New Construction 6.2.5 Pest and Contamination Control Existing Buildings 6.3.2 Integrated Pest Management
Daylight and Circadian Rhythm GP IV. Enhance the Indoor Environment: Daylighting and Lighting Controls NC&M Criteria 4.2; EB Criteria 4.2 | New Construction 6.3.1 Daylighting and Views Existing Buildings 6.4.1 Daylighting and Electrical Lighting
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Healthy Dining Options) NC&M Criteria 4.9; EB Criteria 4.9
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Potable Water) NC&M Criteria 4.9; EB Criteria 4.9 | Existing Buildings 6.7.1 Access to Potable Water 6.7.2.3.4 Provides access to free sources of drinking water
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Stairwell Vertical Circulation) NC&M Criteria 4.9; EB Criteria 4.9
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Active Workstations) NC&M Criteria 4.9; EB Criteria 4.9
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Access to Bicycle Commuter Facilities) NC&M Criteria 4.9; EB Criteria 4.9 | New Construction 2.2.1.5 Is a bicycle parking rack located within 50ft of an entrance? 2.2.1.6.1 Is sheltered bicycle parking provided? 2.2.1.6.2 Are at least 50% of sheltered bicycle parking located inside building or within storage lockers or another area that provides security of a locked room or cage? Existing Buildings 2.2.2.5 Providing bicycle facilities for min 5% of occupants
Exercise GP I. Employ Integrated Design Principles: Integrated Design and Management (Mass Transit/Public Transportation Access & Walkability) NC&M Criteria 1.1; EB Criteria 1.1 | New Construction 2.2.1 Transportation Existing Buildings 2.2.2.2 What is the distance along public sidewalks and bike lanes/paths to the closest public transit stop? 2.2.2.4 Is there a public or private transit service within 0.5 miles for building users at reduced cost? 2.2.2.6 Have other measures been enacted to reduce car dependency?
Exposure to Radon GP IV. Enhance the Indoor Environment: Radon Mitigation NC&M Criteria 4.4; EB Criteria 4.4 | New Construction 6.2.6 Other Indoor Pollutants (Tobacco, Radon) Existing Buildings 6.2.2 Radon
General Health & Wellness GP I. Employ Integrated Design Principles: Integrated Design and Management (Integrated team approach) NC&M Criteria 1.1; EB Criteria 1.1 | New Construction 1.1.2 Integrated Design Process Existing Buildings 1.1.1 Environmental Management System documentation
Potential Exposure and Risk to Occupants GP V. Reduce the Environmental Impact of Materials: Products NC&M Criteria 5.3; EB Criteria 5.3 | Existing Buildings 5.1.2 Environmental Purchasing
Smoking Reduction / Cessation GP IV. Enhance the Indoor Environment: Environmental Smoking Control NC&M Criteria 4.7; EB Criteria 4.7 | New Construction 6.2.6 Other Indoor Pollutants (Tobacco, Radon) Existing Buildings 6.1.3 Control of Pollutants at Source
Views of Nature GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9

## GSA PBS-P100
Back to 'Make Your Selections'
Guiding Principle | GSA PBS-P100 (2024)
Air Quality and Control of Temperature GP IV. Enhance the Indoor Environment: Ventilation and Thermal Comfort NC&M Criteria 4.1; EB Criteria 4.1 | 3.10.2 Health and Comfort: Environmental Controls 3.10.2.1 Ventilation and Thermal Comfort 5.2 Mechanical Engineering 5.2.1 Temperature 5.2.2 Humidity Control 5.2.3 Air Movement 5.2.4 Pressure 5.2.5 Ventilation 5.2.6 Filtration
Air Quality and Exposure to Mold and Mildew GP IV. Enhance the Indoor Environment: Moisture and Mold Control NC&M Criteria 4.5; EB Criteria 4.5 | 3.1.4 Moisture and Condensation Control 3.2.4 Moisture and Condensate Control 3.2.4.1 Moisture Control Opaque Assemblies 3.2.4.2 Condensation Resistance - Fenestration 3.3 Enclosure Requirements 3.3.1 Moisture Control 3.3.4 Wall Systems 3.3.4.2 Materials with Organic Content 3.3.4.3 Air/Moisture Barrier System
Air Quality and Off-Gassing and Exposure to VOCs GP IV. Enhance the Indoor Environment: Low-Emitting Materials and Products NC&M Criteria 4.3; EB Criteria 4.3 | 3.5 Interior Construction and Interior Finishes Performance Attributes 5.2 Mechanical Performance Attributes 5.2.5 Ventilation: 3 Tiers include low emitting materials requirements
Air Quality and Plants GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9
Air Quality in Occupied Buildings under Construction GP IV. Enhance the Indoor Environment: Indoor Air Quality during Construction and Operations NC&M Criteria 4.6; EB Criteria 4.6
Chemical Exposure from Pest Management Programs GP IV. Enhance the Indoor Environment: Integrated Pest Management NC&M Criteria 4.8; EB Criteria 4.8 | 2.5.8 Operations and Maintenance 2.5.8.1 Sustainable Site Maintenance
Daylight and Circadian Rhythm GP IV. Enhance the Indoor Environment: Daylighting and Lighting Controls NC&M Criteria 4.2; EB Criteria 4.2 | 3.10.2 Health and Comfort: Environmental Controls 3.10.2.2 Lighting/Daylighting 6.1 Lighting Performance Requirements 6.1.1 Lighting Quality - Interior 6.2 Lighting Performance Attributes 6.2.1 Lighting Quality
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Healthy Dining Options) NC&M Criteria 4.9; EB Criteria 4.9
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Potable Water) NC&M Criteria 4.9; EB Criteria 4.9
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Stairwell Vertical Circulation) NC&M Criteria 4.9; EB Criteria 4.9 | 3.4.3 Promote the Use of Stairs
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Active Workstations) NC&M Criteria 4.9; EB Criteria 4.9
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Access to Bicycle Commuter Facilities) NC&M Criteria 4.9; EB Criteria 4.9
Exercise GP I. Employ Integrated Design Principles: Integrated Design and Management (Mass Transit/Public Transportation Access & Walkability) NC&M Criteria 1.1; EB Criteria 1.1 | 2.1 Community Planning Performance Table 2.1.1 Sustainable Locations 2.2.1 Sustainable Locations
Exposure to Radon GP IV. Enhance the Indoor Environment: Radon Mitigation NC&M Criteria 4.4; EB Criteria 4.4 | 3.3.3 Substructure: depressurization required when radon is present
General Health & Wellness GP I. Employ Integrated Design Principles: Integrated Design and Management (Integrated team approach) NC&M Criteria 1.1; EB Criteria 1.1 | 1.9.3 Sustainability Requirements
Potential Exposure and Risk to Occupants GP V. Reduce the Environmental Impact of Materials: Products NC&M Criteria 5.3; EB Criteria 5.3 | 3.5 Interior Construction Performance Table [many specific materials requirements by building component (recycled, biobased, etc.), too numerous to list] 3.6 Interior Construction Performance Attributes
Smoking Reduction / Cessation GP IV. Enhance the Indoor Environment: Environmental Smoking Control NC&M Criteria 4.7; EB Criteria 4.7
Views of Nature GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 | 1.9.1.4 Fenestration 1.9.2.4 Designing for Daylight 6.2.1 Lighting Quality

## LEED v4.1
Back to 'Make Your Selections'
Guiding Principle | LEED v4.1
Air Quality and Control of Temperature GP IV. Enhance the Indoor Environment: Ventilation and Thermal Comfort NC&M Criteria 4.1; EB Criteria 4.1 | O+M Indoor Environmental Quality Prerequisite: Minimum Indoor Air Quality Credit: Indoor Environmental Quality Performance BD+C, ID+C Indoor Environmental Quality Prerequisite: Minimum Indoor Air Quality Credit: Enhanced Indoor Air Quality Strategies Credit: Construction Indoor Air Quality Management Plan Credit: Indoor Air Quality Assessment Credit: Thermal Comfort Innovation Pilot: Learning Controls for Thermal Comfort (Alternative pathway for Credit: Thermal Comfort) Pilot: Performance-based Indoor Air Quality Design and Assessment Residential BD+C Indoor Environmental Quality Prerequisite: Minimum Indoor Air Quality Credit: Enhanced Indoor Air Quality Strategies Innovation Pilot: Learning Controls for Thermal Comfort (Alternative pathway for Credit: Thermal Comfort)
Air Quality and Exposure to Mold and Mildew GP IV. Enhance the Indoor Environment: Moisture and Mold Control NC&M Criteria 4.5; EB Criteria 4.5 | BD+C, ID+C Energy and Atmosphere Prerequisite: Fundamental Commissioning and Verification Credit: Enhanced Commissioning Indoor Environmental Quality Credit: Thermal Comfort Residential BD+C Energy and Atmosphere Prerequisite: Fundamental Systems Testing and Verification Credit: Enhanced Commissioning Indoor Environmental Quality Prerequisite: Interior Moisture Management Credit: Thermal Comfort
Air Quality and Off-Gassing and Exposure to VOCs GP IV. Enhance the Indoor Environment: Low-Emitting Materials and Products NC&M Criteria 4.3; EB Criteria 4.3 | BD+C, Residential BD+C, ID+C Indoor Environmental Quality Credit: Low-Emitting Materials O+M Indoor Environmental Quality Prerequisite: Green Cleaning Policy Credit: Indoor Environmental Quality Performance Credit: Green Cleaning Materials and Resources Prerequisite: Facility Maintenance and Renovations Policy Credit: Purchasing
Air Quality and Plants GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 | BD+C & ID+C (except Schools, Homes, and Midrise), O+M (except Schools), LEED for Schools, LEED for Homes and Midrise Innovation Pilot: Local Food Production BD+C, Residential BD+C, ID+C Innovation Pilot: Designing with Nature, Biophilic Design for the Indoor Environment
Air Quality in Occupied Buildings under Construction GP IV. Enhance the Indoor Environment: Indoor Air Quality during Construction and Operations NC&M Criteria 4.6; EB Criteria 4.6 | BD+C, ID+C Interior Environmental Quality Credit: Construction Indoor Air Quality Management Innovation Pilot: Clean Construction Pilot: Performance-based Indoor Air Quality Design and Assessment Residential BD+C Innovation Pilot: Clean Construction O+M Materials and Resources Prerequisite: Facility Maintenance and Renovations Policy
Chemical Exposure from Pest Management Programs GP IV. Enhance the Indoor Environment: Integrated Pest Management NC&M Criteria 4.8; EB Criteria 4.8 | O+M Indoor Environmental Quality Credit: Integrated Pest Management (IPM)
Daylight and Circadian Rhythm GP IV. Enhance the Indoor Environment: Daylighting and Lighting Controls NC&M Criteria 4.2; EB Criteria 4.2 | Residential BD+C Indoor Environmental Quality Credit: Daylight Innovation Pilot: Daylight in nonregularly occupied spaces
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Healthy Dining Options) NC&M Criteria 4.9; EB Criteria 4.9 | BD+C & ID+C (except Schools, Homes, and Midrise), O+M (except Schools), LEED for Schools, LEED for Homes and Midrise Innovation Pilot: Local Food Production
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Potable Water) NC&M Criteria 4.9; EB Criteria 4.9 | BD+C, ID+C Innovation Pilot: Lead Risk Reduction Pilot: PBT Source Reduction - Lead, Cadmium and Copper O+M, Residential BD+C Innovation Pilot: Lead Risk Reduction
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Stairwell Vertical Circulation) NC&M Criteria 4.9; EB Criteria 4.9 | BD+C, ID+C, O+M, Residential BD+C Innovation Pilot: Design for Active Occupants
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Active Workstations) NC&M Criteria 4.9; EB Criteria 4.9 | BD+C, ID+C, O+M, Residential BD+C Innovation Pilot: Ergonomics approach for computer users.
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Access to Bicycle Commuter Facilities) NC&M Criteria 4.9; EB Criteria 4.9 | BD+C NC, Residential BD+C, ID+C Location and Transportation Credit: Bicycle Facilities Transportation and Land Use Credit: Access to Quality Transit LEED for Communities, LEED for Cities Transportation and Land Use Credit: Access to Quality Transit Credit: Smart Mobility and Transportation Policy Credit: Walkability and Bikeability O+M Location and Transportation Credit: Transportation Performance
Exercise GP I. Employ Integrated Design Principles: Integrated Design and Management (Mass Transit/Public Transportation Access & Walkability) NC&M Criteria 1.1; EB Criteria 1.1 | BD+C, Residential BD+C, ID+C Location and Transportation Credit: Bicycle Facilities Transportation and Land Use Credit: Access to Quality Transit LEED for Communities, LEED for Cities Transportation and Land Use Credit: Access to Quality Transit Credit: Smart Mobility and Transportation Policy Credit: Walkability and Bikeability O+M Location and Transportation Credit: Transportation Performance
Exposure to Radon GP IV. Enhance the Indoor Environment: Radon Mitigation NC&M Criteria 4.4; EB Criteria 4.4 | Residential BD+C Indoor Environmental Quality Prerequisite: Radon-Resistant Construction
General Health & Wellness GP I. Employ Integrated Design Principles: Integrated Design and Management (Integrated team approach) NC&M Criteria 1.1; EB Criteria 1.1 | BD+C, ID+C Credit: Integrative Process Residential BD+C Credit: Integrative Process BD+C, ID+C, O+M Innovation Pilot: Integrative Process for Health Promotion O+M Innovation Pilot: Integrative Process
Potential Exposure and Risk to Occupants GP V. Reduce the Environmental Impact of Materials: Products NC&M Criteria 5.3; EB Criteria 5.3 | BD+C, ID+C Materials and Resources Credit: Building Product Disclosure and Optimization - Environmental Product Declarations Credit: Building Product Disclosure and Optimization - Raw Materials Credit: Building Product Disclosure and Optimization - Material Ingredients Innovation Pilot: Integrative Analysis of Building Materials Pilot: Building Material Human Hazard & Exposure Assessment Pilot: Certified Multi-attribute Products and Materials Pilot: Timber Traceability Residential BD+C Materials and Resources Credit: Environmentally Preferable Materials Innovation Pilot: Legal Wood Pilot: Building Material Human Hazard & Exposure Assessment Pilot: Timber Traceability O+M Materials and Resources Prerequisite: Purchasing Policy Credit: Purchasing
Smoking Reduction / Cessation GP IV. Enhance the Indoor Environment: Environmental Smoking Control NC&M Criteria 4.7; EB Criteria 4.7 | BD+C, ID+C, O+M Indoor Environmental Quality Prerequisite: Environmental Tobacco Smoke Control Residential BD+C Indoor Environmental Quality Prerequisite: Environmental Tobacco Smoke Control Credit: No Environmental Tobacco Smoke
Views of Nature GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 | BD+C, ID+C Indoor Environmental Quality Credit: Quality Views Innovation Pilot: Designing with Nature, Biophilic Design for the Indoor Environment Residential BD+C Indoor Environmental Quality Credit: Daylight and Quality Views Innovation Pilot: Designing with Nature, Biophilic Design for the Indoor Environment Pilot: Quality Views in Nonregularly Occupied Spaces

## WELL v2
Back to 'Make Your Selections'
Guiding Principle | WELL v2
Air Quality and Control of Temperature GP IV. Enhance the Indoor Environment: Ventilation and Thermal Comfort NC&M Criteria 4.1; EB Criteria 4.1 | Air Features A03 Ventilation Design (Precondition) A06 Enhanced Ventilation Design (Optimization) A07 Operable Windows (Optimization) A08 Air Quality Monitoring and Awareness (Optimization) A12 Air Filtration (Optimization) A13 Enhanced Supply Air (Optimization) Thermal Comfort Features T01 Thermal Performance (Precondition) T02 Enhanced Thermal Performance (Optimization) T03 Thermal Zoning (Optimization) T04 Individual Thermal Control (Optimization) T05 Radiant Thermal Control (Optimization) T06 Thermal Comfort Monitoring (Optimization) T08 Enhanced Operational Windows [βeta] (Optimization)
Air Quality and Exposure to Mold and Mildew GP IV. Enhance the Indoor Environment: Moisture and Mold Control NC&M Criteria 4.5; EB Criteria 4.5 | Air Features A14 Microbe and Mold Control (Optimization) Water Features W07 Moisture Management (Optimization) Thermal Comfort Features T07 Humidity Control (Optimization)
Air Quality and Off-Gassing and Exposure to VOCs GP IV. Enhance the Indoor Environment: Low-Emitting Materials and Products NC&M Criteria 4.3; EB Criteria 4.3 | Air Features A01 Air Quality Standards (Precondition) A05 Enhanced Air Quality (Optimization) Materials Features X11 Cleaning Products and Protocol (Optimization) X06 VOC Restrictions (Optimization)
Air Quality and Plants GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 | Air Features N12 Food Production (Optimization) Mind Features M02 Nature and Place (Optimization)
Air Quality in Occupied Buildings under Construction GP IV. Enhance the Indoor Environment: Indoor Air Quality during Construction and Operations NC&M Criteria 4.6; EB Criteria 4.6 | Air Features A04 Construction Pollution Management (Precondition)
Chemical Exposure from Pest Management Programs GP IV. Enhance the Indoor Environment: Integrated Pest Management NC&M Criteria 4.8; EB Criteria 4.8 | Materials Features X10 Pesticide Management and Pesticide Use (Optimization)
Daylight and Circadian Rhythm GP IV. Enhance the Indoor Environment: Daylighting and Lighting Controls NC&M Criteria 4.2; EB Criteria 4.2 | Light Features L01 Light Exposure (Precondition) L03 Circadian Lighting Design (Optimization) L04 Electric Light Glare Control (Optimization) L05 Daylight Design Strategies (Optimization) L06 Daylight Simulation (Optimization)
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Healthy Dining Options) NC&M Criteria 4.9; EB Criteria 4.9 | Nourishment Features N01 Fruits and Vegetables (Precondition) N02 Nutritional Transparency (Precondition) N03 Refined Ingredients (Optimization) N04 Food Advertising (Optimization) N05 Artificial Ingredients (Optimization) N06 Portion Sizes (Optimization) N07 Nutrition Education (Optimization) N08 Mindful Eating (Optimization) N09 Special Diets (Optimization) N10 Food Preparation (Optimization) N11 Responsible Food Sourcing (Optimization) N12 Food Production (Optimization) N13 Local Food Environment (Optimization) N14 [βeta] Red and Processed Meats (Optimization)
Diet GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Potable Water) NC&M Criteria 4.9; EB Criteria 4.9 | Water Features W01 Water Quality Indicators (Precondition) W02 Drinking Water Quality (Precondition) W03 Basic Water Management (Precondition) W04 Enhanced Water Quality (Optimization) W05 Drinking Water Quality Management (Optimization) W06 Drinking Water Promotion (Optimization)
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Stairwell Vertical Circulation) NC&M Criteria 4.9; EB Criteria 4.9 | Movement Features V01 Active Buildings and Communities (Precondition) V03 Circulation Network (Optimization)
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Active Workstations) NC&M Criteria 4.9; EB Criteria 4.9 | Movement Features V02 Ergonomic Workstation Design (Precondition) V07 Active Furnishings (Optimization) V11 [Beta] Ergonomics Programming (Optimization)
Exercise GP IV. Enhance the Indoor Environment: Occupant Health and Wellness (Access to Bicycle Commuter Facilities) NC&M Criteria 4.9; EB Criteria 4.9 | Movement Features V04 Facilities for Active Occupants (Optimization)
Exercise GP I. Employ Integrated Design Principles: Integrated Design and Management (Mass Transit/Public Transportation Access & Walkability) NC&M Criteria 1.1; EB Criteria 1.1 | Movement Features V01 Active Buildings and Communities (Precondition) V05 Site Planning and Selection (Optimization)
Exposure to Radon GP IV. Enhance the Indoor Environment: Radon Mitigation NC&M Criteria 4.4; EB Criteria 4.4 | Air Features A01 Fundamental Air Quality (Precondition)
General Health & Wellness GP I. Employ Integrated Design Principles: Integrated Design and Management (Integrated team approach) NC&M Criteria 1.1; EB Criteria 1.1 | Community Features C02 Integrative Design (Precondition)
Potential Exposure and Risk to Occupants GP V. Reduce the Environmental Impact of Materials: Products NC&M Criteria 5.3; EB Criteria 5.3 | Materials Features X06 VOC Restrictions (Optimization) X07 Materials Transparency (Optimization) X08 Materials Optimization (Optimization) X11 Cleaning Products and Protocols (Optimization)
Smoking Reduction / Cessation GP IV. Enhance the Indoor Environment: Environmental Smoking Control NC&M Criteria 4.7; EB Criteria 4.7 | Air Features A02 Smoke-Free Environment (Precondition) Mind Features M10 Tobacco Cessation (Optimization)
Views of Nature GP IV. Enhance the Indoor Environment: Occupant Health and Wellness NC&M Criteria 4.9; EB Criteria 4.9 | Mind Features M02 Nature and Place (Precondition)