## SCORECARD
IN NEXT COLUMN AT LEFT )
Total Workplace Scorecard: Measuring Hallmarks of Quality | [6 empty] | How to Use: This scorecard is intended to benchmark and measure quality improvements between existing and new or planned workplace conditions. To score each element, select the answer that best captures your project. Scores will automatically populate. Provide additional observations in the Notes/Observations box and attach photos where instructive to further describe and explain the status or condition of elements. See "Instructions" column for detailed user guidance. See "Who " column for which expert should respond to each question. See "Resource" column for additional links to tools and certification systems to provide context for the question. The scorecard has "100" possible points. If the scorecard subtotal is less than 100 then scores from the "Extra Credit" section become available to enhance the final score. However, the maximum final score remains 100.
CONCEPT TEST FIT
CUSTOMER:
PROJECT NAME:
LOCATION:
DATE:
SCORECARD EVALUATOR:
1. Engagement (1 Section, 10 Points Total):
Customers who are involved during requirements development, planning and pre-design processes are more apt to understand, accept and "own" the workplace strategies and design decisions.
|  | Elements |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Engagement | 1 | Customer mission, project goals, and financial objectives, developed with leadership consensus, were documented at the start of the project. |  | 20% |  |  |  | Fitwel 8.13 is Stakeholder Collaboration Process Fitwel 8.12 is Occupant Satisfaction Survey |  | 20
|  | 2 | Throughout the project development, workplace requirements and design decisions were based on customer's mission, project goals and financial objectives. |  | 20% | [5 empty] | 20
|  | 3 | Customer leadership and employees were involved throughout the requirements development process. |  | 20% | [5 empty] | 20
|  | 4 | Throughout the workplace process, changes were discussed, addressed, and adopted by the leadership and employees. |  | 20% | [5 empty] | 20
|  | 5 | All major project stakeholders participated in a design workshop(s) to develop design strategies and concepts. |  | 20% | [5 empty] | 20
[5 empty] | Engagement Subtotal | [5 empty] | 100 | 0
|  |  | Engagement Score | 0 | / 10 Points for section | [5 empty] | 10
|  |  | Share of section score achieved: | 0%
2. HEALTH, COMFORT and PERFORMANCE (5 Sections, 50 Points Total):
The workplace environment must be clean, comfortable, well-ventilated and have access to natural daylight. The workspace should provide ergonomic features and provide conditions that are free from excessive noise, glare, distractions and thermal discomfort.
2.1 Air Quality
Elements |  |  |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Characteristics | 0 | Is the building HVAC system variable or constant volume? |  | N/A
|  | 0 | Is there combustion-based heating equipment present? |  | N/A
| Source Control | 1 | Permanent entryway system comprised of grilles, grates or slots, which allow for easy cleaning underneath are the width of entrance and A MINIMUM OF 10 ft. in primary direction of travel OR Rollout mats the width of entrance and 10 ft. in primary direction of travel. Reduces amount of outdoor pollution brought indoors. |  | 2.381% |  | For new projects or renovations, confirm these are noted in design requirements documents. Reduces introduction of particulate matter pollution into building. PM is primary source of respiratory issues in buildings and a contributor to symptoms of sick building syndrome. |  | Fitwel 4.8 | WELL 2019 - Air: Feature 8 Healthy Entrance. | 6 | 0
|  | 2 | Building entry uses airlock strategy (e.g. includes vestibule with two normally-closed doorways, revolving entrance doors, or at least 3 normally-shut doors that separate occupied space from the outdoors. Reduces amount of outdoor pollution brought indoors and maintains internal temperature and comfort of occupants near entrances. |  | 2.381% |  | For new projects or renovations, confirm these are noted in design requirements documents. |  |  | WELL 2019 - Air: Feature 8 Healthy Entrance. | 6 | 0
|  | 3 | It is required that only Green Seal, UL Ecolabel, or EPA Safer Choice cleaning products are used. |  | 4.762% |  | Confirm with building manager that this is a requirement of current building services contracts and the majority (75% by cost) of cleaning materials meet this requirement. Reduces introduction of Volatile Organic Compounds into building. VOCs are a source of respiratory issues in buildings and a contributor to symptoms of sick building syndrome. |  |  | LEED O+M Existing Buildings v4 - Green Cleaning Products | 12 | 0
|  | 4 | Office furnishings/fittings meet or will meet threshold level of compliance with emissions and content standards under LEED v4 Low Emitting Materials credit, WELL Standard feature 4 VOC reduction feature, or BIFMA e-3 Low Emitting Furniture Prerequisite. |  | 4.762% |  | 75% of existing furnishings meet, or, all newly purchased furnishings will meet requirements for the ANSI/BIFMA Standard for Emissions. New purchases meet BIFMA Level e3 Low Emitting Furniture Prerequisite, existing furnishings meet LEED and WELL low emitting and VOC reduction credits. If unknown select "no." {THIS INFORMATION CAN BE FOUND … FURNITURE MEETING THIS CRITERION WILL GENERALLY NOT BE OLDER THAN...} Reduces introduction of Volatile Organic Compounds into building. VOCs are a source of respiratory issues in buildings and a contributor to symptoms of sick building syndrome. |  |  | LEED v4 - Low Emitting Materials WELL 2019 Air: Feature 4 VOC Reduction BIFMA Level e-3: Low Emitting Furniture Prerequisite; ANSI/BIFMA x7.1 Standard for Emissions | 12 | 0
|  | 5 | All cleaning and chemical storage units, bathrooms, and printer / copier rooms have self-closing doors, deck to deck sealed partitions, and maintain negative air pressure using a direct-exhaust system. |  | 4.762% |  | Consult building management. For new projects or renovations, confirm these are noted in design requirements documents. In existing spaces, visually inspect that room partitions connect above drop ceiling to floor above and confirm the presence of self-closing door and exhaust system. Check for odors adjacent to space or complaints of odors in surveys. Reduces introduction of Volatile Organic Compounds into building. VOCs are a source of respiratory issues in buildings and a contributor to symptoms of sick building syndrome. |  | Fitwel 6.7 provide separate ventilation for chemical use or storage | WELL 2019 Air: Feature 17 - Direct Source Ventilation. | 12 | 0
|  | 6 | Policy in place to reduce the presence of pests in buildings and minimize occupant exposure to pest-related allergens. Note: This includes both the building management office and tenant agency's local management. |  | 4.762% |  | Consult building management that a policy is in place for pest control and spot check for signs of pests in workplace. |  |  | WELL 2019 - Air: Feature 22 Pest control | 12 | 0
|  | 7 | Project uses only Light-Emitting Diode (LED) or Light-Emitting Capacitor (LEC) lamps AND No mercury vapor or probe-start metal halide high intensity discharge lamps or T12 fluorescent tubes are in use |  | 4.762% |  | Consult building management. Reduces risk that harmful chemicals are introduced into indoor environment if lamps are inadvertently broken. |  |  | LEED v4 O+M - MRc2 - Purchasing Lamps. | 12 | 0
| Filtration / Infiltration | 8 | Outdoor air filters used are MERV-13 or higher, or, designer provides a calculation showing lower MERV filters are sufficient given local air quality conditions |  | 9.524% |  | Consult building management. Minimum filtration standard is MERV 8 for which no points are added. For existing buildings confirm maintenance practices include regular checks and replacement of filters as needed. Buildings that use both natural ventilation and mechanical filtration are scored the same as buildings without natural ventilation provided the design follows applicable design standards. Filtration is critical to removing particulate matter pollution from outside air brought in as fresh air. This is most important in areas with known high-levels of outdoor air pollution. |  |  | LEED v4 NC - EQc1 - Enhanced Indoor Air Quality WELL v2 Air: Feature 5 - Air Filtration (with GSA modification) | 24 | 0
|  | 9 | Rack space (or an additional slot) is available and location identified for use of carbon filters, combination particle / carbon filters, or additional filters to be implemented when outdoor air quality conditions warrant. The mechanical system is sized to accommodate the additional filters. |  | 9.524% |  | Consult with building management. Rack space allows the building operations staff to increase filtration should outdoor conditions change to require additional removal of particulate matter or ozone pollution. This may happen with seasonal variation of weather, natural disaster such as wildfires, or other unanticipated event. |  |  | WELL 2019 Air: Feature 5 - Air Filtration (with GSA modification) | 24 | 0
|  | 10 | Building can maintain positive pressure when not in natural ventilation mode |  | 4.762% |  | Consult with building management. Positive pressure reduces unplanned infiltration of unfiltered outdoor air. |  |  |  | 12 | 0
|  | 11 | Outdoor air intake location is not located within 30' of kitchen exhaust, idling vehicles or other source of outdoor air contamination or any distance such that noticeable introduction of these pollutants are made into the building via the outdoor air supply. |  | 4.762% |  | Consult with building management and observe directly. |  |  |  | 12 | 0
| Ventilation Effectiveness / OA Rate | 12 | Ventilation rates are designed with understanding of occupant density to improve worker health and performance: Option 1 - Meet or exceed specified ventilation rates; or, Option 2 - Demand control ventilation designed to maintain below maximum CO2 limits. |  | 9.524% |  | Minimum ventilation requirements must meet ASHRAE 62.1 for which no points are assigned. Additional points depend on meeting requirements for minimum outdoor air per person as defined by floor size and seat counts in individual spaces. Reviewer should consult design records to identify design ventilation criteria and design occupancy. In existing spaces, confirm supply and return air connections are present, then divide total design ventilation provided to a space (CFM) by the total area of the space (SF) and seat density (Seats/SF)” In existing buildings confirm that actual occupancy does not regularly exceed design occupancy, and, verify that spaces repurposed from individual use to meeting rooms or spaces created without adjustments to mechanical systems meet ventilation design criteria. Projects with more than 10% of spaces not meeting these criteria should be scored as conventional. Conventional building design will result in no points. Increasing ventilation rates above conventional design to enhanced levels has been associated with reduced symptoms of sick building syndrome and improved work performance. This will apply generally to larger projects and projects involving renovation. |  |  | LEED v4 NC - EQc1 - Enhanced Indoor Air Quality WELL 2019 Air: Feature 15 Increased Outdoor Air Supply CA Title 24 Section 120.1 (with GSA modification) | 24 | 0
|  | 14 | Zone air diffuser effectiveness - select from ASHRAE table; in existing space, confirm diffuser configuration provides air to seats within all spaces and is not blocked by furniture or wall reconfiguration. (SELECT FROM DROPDOWN NEXT COLUMN AT RIGHT) |  | 9.524% |  | Refer to drop down table for options established in ASHRAE 62.1. Future versions of the Scorecard will use pictures of different options. |  |  | Reference ASHRAE 62.1 Zone Air Distribution Effectiveness (Ez) | 24 | 0
|  | 15 | The design of the interior floorplan, furniture layout, and air distribution system have been integrated and aligned to minimize obstruction to air flow and ensure adequate and consistent fresh air is distributed to all spaces. |  | 9.524% |  | Observation, consult MEP designer and / or building management |  |  | CMU NEAT Dataset Study | 24 | 0
|  | 16 | A dedicated outdoor air systems (DOAS) is present; the ventilation and thermal control systems are not linked (decoupling of ventilation and thermal systems). |  | 4.762% |  | Consult building management |  |  | WELL 2019 Air: Feature 20 Dedicated Outdoor Air Systems | 12 | 0
|  | 17 | Most (90%) of regularly occupied spaces have operable windows that allow access to outdoor air. |  | 4.762% |  | Consult building management |  |  | WELL 2019 Air: Feature 19 - Operable Windows LEED v4 NC: Enhanced IAQ Strategies | 12 | 0
| Testing | 18 | HVAC system has undergone testing and balancing after substantial completion and prior to occupancy, and it meets ventilation requirements in all spaces. Periodic system rebalancing has been completed at least once every 5 years. |  | 4.762% |  | Consult building management |  |  | WELL 2019 Air: Feature 3 - Ventilation Effectiveness | 12 | 0
[5 empty] | Air QualitySubtotal | [5 empty] | 252 | 0
|  |  | Air Quality Score | 0 | / 10 Points for section | [5 empty] | 10
|  |  | Share of section score achieved: | 0%
2.2 Thermal Comfort
Elements |  |  |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Individual Control | 1 | Employees have the ability to control and adjust temperature in work area zones (SELECT FROM DROPDOWN NEXT COLUMN AT RIGHT) |  | 10% | [5 empty] | 10 | 0
|  | 2 | Employees have the ability to control and adjust temperature in conference rooms (SELECT FROM DROPDOWN NEXT COLUMN AT RIGHT) |  | 10% | [5 empty] | 10 | 0
|  | 3 | Thermal Zone Size (average number of seats per thermostat throughout the building) (SELECT FROM DROPDOWN NEXT COLUMN AT RIGHT) |  | 10% |  | Visual inspection or confirm with building management. Take average per building or project boundary if partial building. |  |  |  | 10 | 0
| Building Envelop | 4 | Wall, floor and roof Insulation (SELECT FROM DROPDOWN NEXT COLUMN AT RIGHT) |  | 20% |  | Consult with building management for typical values for insulation in construction of existing buildings. Consult design engineer or project requirements documents for new projects and major renovations. |  |  |  | 20 | 0
|  | 5 | Window glazing quality ensures thermal comfort (R value and infiltration); number of panes (SELECT FROM DROPDOWN NEXT COLUMN AT RIGHT) |  | 20% | [5 empty] | 20 | 0
|  | 6 | Windows / walls temperature similar to indoor temperature to the touch and/or minimal downdrafts evident from windows / walls in winter? |  | 10% | [5 empty] | 10 | 0
| Personal Comfort | 7 | Personal comfort devices provided by the organization to support personalized thermal comfort? |  | 10% |  | Personal fans, foot warmers, etc. Approved units are available to individuals. |  | Fitwel 7.5 |  | 10 | 0
|  | 8 | No more than 10% of workstations have unsanctioned coping mechanisms: space heaters, fans, sweaters/coats/blankets, taped over ceiling, window or floor diffusers, taped over windows? |  | 10% | [5 empty] | 10 | 0
|  |  | Thermal Subtotal | 100 | 0
|  |  | Thermal Score | 0 | / 10 Points for section | [5 empty] | 10
|  |  | Share of section score achieved: | 0%
2.3 Light
Elements |  |  |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Access to Daylight | 1 | Most (80%) small, enclosed spaces SUCH AS private offices, meeting rooms, and other amenities are located on interior, core spaces or are built from translucent walls to maximize daylight in interior spaces. |  | 9.091% | [5 empty] | 9 | 0
|  | 2 | Most (80%) desks are within 25' and have a seated view of an atrium or window which provide daylight. |  | 18.18% | [5 empty] | 18 | 0
|  | 3 | When appropriate with job function and/or work patterns, workstations and bench seating have low height (54" or less above floor). Interior enclosed spaces (including private offices, meeting rooms etc) have glass walls to provide views of the interior workplace and to natural daylight. |  | 9.091% |  | Extensive use of partitions should be weighed against seated access to views, collaboration, acoustics, material use, and other trade offs. |  |  |  | 9 | 0
| Control of Light Level / Glare | 4 | Where present, employees are able to control individual, adjustable horizontal task lighting at their primary workspace. |  | 9.091% |  | Lighting should be both positionable and bi-level. |  |  |  | 9 | 0
|  | 5 | Most (80%) of vertical surfaces are lit. Avoid direct view of light sources from a sitting position - defined as within a 40 degree horizontal band about the line of sight. Within that band average luminance should be at least 30 lux. |  | 9.091% |  | Luminance within a 40 degree horizontal band about the line of sight were most important in determining the perception of brightness |  |  | Loe et al., 1994 | 9 | 0
|  | 6 | Daylighting controls automatically adjust overhead lighting when daylighting alone is sufficient to reach required horizontal illuminance at the work surface. |  | 9.091% |  | Sufficient is defined as at least 300 lux at eye-level, or, based on design references used by the organization (i.e. IES handbook, P-100, other). This is especially important within 15' of exterior windows. |  |  |  | 9 | 0
|  | 7 | Interior window treatments, including blinds and shades, are automated via light sensor or are user-adjustable to allow control over the amount of daylight. |  | 9.091% | [5 empty] | 9 | 0
|  | 8 | Windows have architectural features like exterior shading, interior light shelves, and electrochromic glass to minimize direct sun in spaces. |  | 9.091% | [5 empty] | 9 | 0
|  | 9 | Most (80%) of desks or desktop monitors within 25' of exterior windows can be configured to be perpendicular to the windows. |  | 9.091% |  | Consider desktop monitors v. laptops. Laptop users meet requirement but should be advised to position screens perpendicular to windows. |  |  |  | 9 | 0
|  | 10 | No more than 10% of workstations have evidence of coping mechanisms (i.e. covered light fixtures, shielded computer screens, wearing caps or sunglasses at the desk, taped over windows, etc.). |  | 9.091% |  | For buildings that are not yet built or for spaces that are not currently occupied, answer no. Some of the listed examples may not be coping mechanisms for glare. For instance shielded computer screens could be used to provide visual privacy. If mechanisms seem out of place consider confirming the reason with the occupant. |  |  |  | 9 | 0
[5 empty] | Light Subtotal | [5 empty] | 99 | 0
|  |  | Light Score | 0 | / 10 Points for section | [5 empty] | 10
|  |  | Share of section score achieved: | 0%
2.4 Acoustics
Elements |  |  |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Acoustic Design | 1 | A/E has provided a design narrative explaining how the acoustical design incorporates the principles of GSA Sound Matters. It is apparent from the narrative that consideration has been given to design decisions including office zoning and acoustic treatments that minimize distractions and ensure speech privacy. In existing spaces a walkthrough and evaluation by a workplace strategist using work pattern and Sound Matters as a reference is sufficient. |  | 10% |  | Require the architect/engineer to provide a brief narrative describing how the design meets acoustic requirements. In existing spaces, a walkthrough by the workplace consultant or strategies is sufficient to achieve this element whether the requirements are met or not. The walkthrough will be used to evaluate elements 5-8 below. Completing this is especially important for leased buildings. Extensive use of partitions should be weighed against seated access to views, collaboration, acoustics, and material use. |  |  | GSA Sound Matters: "Ten Steps to Achieving Acoustic Comfort in the Contemporary Office" Page 11 Right-click cell follow hyperlink | 10 | 0
|  | 2 | The ceilings of most (80%) of spaces meet minimum requirements in GSA Sound Matters. This includes an absorption of at least .8 NRC on 50% of private office and meeting room ceilings and 100% of open office ceilings. (SELECT FROM DROP DOWN IN THE NEXT COLUMN AT RIGHT) |  | 20% |  | In existing buildings assume acoustical ceiling tiles have an NRC of .7 and drywall .2; visually confirm quantities of additional acoustic treatment (i.e. percentage of surfaces that have additional sound absorbing features such as acoustic panels on walls or ceilings). For new designs confirm material acoustic characteristics and typical design details for construction assemblies meet requirements. Post-construction confirm enclosed spaces provide speech privacy of at least 80 (i.e. only 2/10 words are understandable in adjacent spaces. |  |  | GSA Sound Matters: "What is acoustical comfort" Page 4. "Technical Tips for Physical Acoustical Mitigation" Page 33; and, "Detailing the Acoustic Environment" Page 36. Right-click cell follow hyperlink | 20 | 0
|  | 3 | The walls/partitions of most (80%) spaces meet requirements in GSA Sound Matters. This includes absorption of at least .8 NRC on 25% of all wall surfaces. (SELECT FROM DROP DOWN IN THE NEXT COLUMN AT RIGHT) |  | 10% |  | In existing buildings assume acoustical ceiling tiles have an NRC of .7 and drywall .2; visually confirm quantities of additional acoustic treatment (i.e. percentage of surfaces that have additional sound absorbing features such as acoustic panels on walls or ceilings). For new designs confirm material acoustic characteristics and typical design details for construction assemblies meet requirements. Post-construction confirm enclosed spaces provide speech privacy of at least 80 (i.e. only 2/10 words are understandable in adjacent spaces. |  |  | GSA Sound Matters: "What is acoustical comfort" Page 4. "Technical Tips for Physical Acoustical Mitigation" Page 33; and, "Detailing the Acoustic Environment" Page 36. Right-Click on cell to access GSA Sound Matters | 10 | 0
|  | 4 | The doors for most (80%) private offices, meeting rooms and other noisy spaces are solid core, gasketed and of high enough quality to ensure speech privacy as experienced in the field. (SELECT FROM DROP DOWN IN THE NEXT COLUMN AT RIGHT) |  | 10% |  | For new designs, confirm material acoustic characteristics and typical design details for construction assemblies meet requirements. In existing buildings work with building management to visually confirm absorption and confirm that enclosed spaces provide speech privacy of at least 80 (i.e. only 2/10 words are understandable in adjacent spaces. |  |  | GSA Sound Matters: "What is acoustical comfort" Page 4. "Technical Tips for Physical Acoustical Mitigation" Page 33; and, "Detailing the Acoustic Environment" Page 36. Right-click cell follow hyperlink | 10 | 0
|  | 5 | Sound masking is present in open offices and reduces speech intelligibility so that occupants are not disturbed as they work. Noise level from the system should not exceed 45-48dBA in open office areas and there are no unresolved complaints about the system in existing spaces. |  | 10% |  |  |  |  | GSA Sound Matters: "Technical Tips for Physical Acoustical Mitigation" Page 33; and, "Detailing the Acoustic Environment" Page 36. Right-click cell to follow hyperlink | 10 | 0
|  | 6 | The workplace is zoned so incompatible work zones such as quiet (concentrative) areas are acoustically separated from interactive (collaborative) activity zones and/or areas that would generate noise above the target background noise levels. There are adequate and conveniently located meeting and phone rooms to support interactive work. |  | 10% |  | In existing spaces, workplace strategist will make a judgement regarding incompatible uses based on observation of behavior and known work patterns. |  |  | GSA Sound Matters: "Where: Zoning and Designing Workplace Neighborhoods" page 18-27 Right-click cell to follow hyperlink | 10 | 0
|  | 7 | There are office protocols restricting the use of speaker phones, phone ringers and conversations at the desk in open office areas or in circulation areas near where others are trying to concentrate. |  | 10% |  | Ask whether a policy is or will be in place. During walkthrough of existing spaces determine if a policy or normal behavior avoids these issues. |  |  |  | 10 | 0
| Testing | 8 | A pre-occupancy noise survey for speech privacy has been or will be completed that verifies design requirements have been met and documents a course of corrective action where not met. |  | 10% |  | This pre-occupancy survey is intended to ensure that design requirements have been met. Studies have shown that poor installation often leads to underperformance even if materials with correct acoustical characteristics are used. |  |  | GSA Sound Matters: "What is acoustical comfort" Page 4. "Technical Tips for Physical Acoustical Mitigation" Page 33; and, "Detailing the Acoustic Environment" Page 36. Right-Click on cell to access GSA Sound Matters | 10 | 0
|  | 9 | Regularly occurring exterior noise is not observed during a walkthrough, or, measured thresholds are not exceeded during the noise survey. |  | 5% |  | If a meter is available, the threshold should be 55dBA over a few minutes. If using a smartphone application, be sure to calibrate it first. |  |  |  | 5 | 0
|  | 10 | Distracting noise from MEP Systems are not observed in any occupied spaces during walkthrough (e.g. rumble, hiss, ping, on/off variability), or, measured thresholds are not exceeded during the noise survey. |  | 5% |  | If a SOUND meter is available, the noise should be no more than 40dBA during steady operation, with a max of 45dBA for any spikes. IF A SOUND METER APP ON AN IPHONE IS USED, ENSURE THAT IT IS PROPERLY CALIBRATED |  |  | GSA Sound Matters: "Technical Tips for Physical Acoustical Mitigation" Page 33; and, "Detailing the Acoustic Environment" Page 36. Right-click cell to follow hyperlink | 5 | 0
[5 empty] | Acoustics Subtotal | [5 empty] | 100 | 0
|  |  | Acoustics Score | 0 | / 10 Points for section | [5 empty] | 10
|  |  | Share of section score achieved: | 0%
2.5 Physical, Musculoskeletal Health and Psychological Well-Being
Elements |  |  |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Location / Transit | 1 | Walkability - See dropdown options under "Criteria" - the facility is located in an area with a Walk score greater than: |  | 10% |  | Use https://www.walkscore.com/score/ to identify the current walk score for the project location. |  | Fitwel 4.7 | Fitwel 1.1 | 10 | 0
|  | 2 | Connection to public transit - Main entrance to facility is located within 1/2 mile walking distance of at least one public transit stop.There is a universally accessible pedestrian route connecting the transit stop with the main building entrance that is free of obstacles and includes pedestrian crossings at street intersections. |  | 5% |  |  |  | Fitwel 1.4, 2.1, 4.2, 4.3 and 4.4. | Fitwel 1.4, 2.1 | 5 | 0
|  | 3 | Support for Alternative Commute Trips - Secured and covered bicycle parking and active commuter showers meeting the minimum requirements outlined in Fitwel v2 Multi Tenant Buildings are provided in the facility. |  | 5% |  |  |  |  | Fitwel 2.3, 2.4 | 5 | 0
| Amenities and Design for Activity | 4 | Connection to outdoor space amenities - The facility is within 1/2 mile walking distance of at least two of the following: outdoor seating, water feature, walking trail (at least 1/4 mile in length in one direction), outdoor fitness area, restorative garden (including natural elements and not located within view of a heavy vehicle traffic), or Farmers Market.Amenities should meet minimum requirements of Fitwel v2 Section 3, "Outdoor Spaces" |  | 4% |  |  |  | Fitwell grants multiple points for: provide outdoor space amenity, walking trail, outdoor fitness equipment, institute Farmers Market and onsite veg/fruit garden. | Fitwel, 3.1 - 3.5; BREEAM HEA 07 | 4 | 0
|  | 5 | Exercise Room / Fitness Facility - A dedicated exercise room or subsidized access to fitness facility is provided within the facility or within 1/2 mile walking distance of the main entrance.The room provides fitness equipment (including weight and cardiovascular training equipment), and access to locker rooms and shower facilities. |  | 4% |  |  |  |  | Fitwel 8.8, 8.9 | 4 | 0
|  | 6 | Common Break Area / Kitchen - Space is provided within the facility or tenancy that encourages employees to step away from their desks during the workday.The space should include a refrigerator, sink, microwave, and seating for users and be highly appealing with color and windows to the outside where possible. |  | 4% |  |  |  | Fitwel 8.3 | Fitwel 8.3, BREAM HEA 07 | 4 | 0
|  | 7 | Multipurpose, Quiet or Wellness Space - Space is provided within the facility or tenancy for respite, relaxation, meditation, and health programs.The total space dedicated is at least 75 SF + 1 SF / employee assigned to the space. |  | 4% |  |  |  |  | Fitwel 8.5, 8.7 and WELL v2 MO7. | 4 | 0
|  | 8 | Stair access - Stairs connect the main entrance to the facility or space occupied by a tenant with all occupied floors. The stairs are located in a place that is as easily identified as escalators or elevators and have at least two of the following design features: motivational signs, a music system, creative lighting, temperature conditioning, rubber treading, painting the walls with bright colors, or hanging framed artwork. Visibility is increased with signage, open or translucent walls, or doors equipped with magnetic hold-open devices. |  | 4% |  |  |  | Fitwel: Connects floors, active design strategies, closer to floor than elevator, implement best practices in stair safety. | Fitwel 5.1 - 5.5 | 4 | 0
| Ergonomics | 9 | Adjustable height computer keyboard and mouse trays |  | 4% | [5 empty] | 4 | 0
|  | 10 | Separate computer monitor(s) to provide multiple viewing screens. |  | 4% | [5 empty] | 4 | 0
|  | 11 | Computer monitor armature with adjustable height, pivot and tilt options |  | 4% | [5 empty] | 4 | 0
|  | 12 | Adjustable variable height work surfaces, with standing pads and appropriate seating (i.e. perch chairs) as appropriate. |  | 4% | [5 empty] | 4 | 0
|  | 13 | Task chairs with adjustments for seat/back tension, separate arm and seat heights, reclining and tilt. |  | 4% | [5 empty] | 4 | 0
| Nutrition | 14 | Universally accessible water supply and water bottle refilling stations - Potable water supply and water bottle refilling stations are located on all occupied floors and meet current ADA requirements. Water access is provided next to all vending areas. |  | 10% |  |  |  | Fitwel 11.4 | Fitwel 9.1 and 9.2 | 10 | 0
|  | 15 | Healthy vending machines and choice architecture - A food and beverage policy is implemented at all vending areas that is at least as rigorous as the Food and Beverage Nutrition category in the Fitwel Food and Beverage Standard; pricing incentives for healthy items; or choice architecture in food services areas to emphasize nutritious options. |  | 10% |  |  |  | Fitwel 10.4 and 11.4 | Fitwel 10.1 - 10.3 | 10 | 0
| Psychological Health | 16 | Employees have regular mental wellness check-up opportunities. |  | 5% |  | Psychological Well-Being is a positive mental state that allows people to realize their full potential, cope with the stresses of life, work productively, and make meaningful contributions to their communities. Check-ins are a regular internal workforce process for superviors to check in with their employees on their well being. | Customer Representative | OPM Employee Assistance Programs |  | 5
|  | 17 | Employees have equal access to nature, healthy air and daylight. |  | 5% |  |  | Customer Representative |  |  | 5
|  | 18 | Employees have access to and are encouraged to use mental wellness services. |  | 5% |  | Mental wellness services are professional opportunities open to employees to support their mental health. | Customer Representative | OPM Employee Assistance Programs |  | 5
|  | 19 | The agency has established a psychological safety net for employees. |  | 5% |  | A psychological safety net includes an automatic technology resource for mental health. This can include a reminder to take lunch, nudges for taking a break, and suggestions for self care. | Customer Representative | OPM Employee Assistance Programs |  | 5
[5 empty] | Physical Subtotal | [5 empty] | 80 | 0
|  |  | Physical Score | 0 | / 10 Points for section | [5 empty] | 10
|  |  | Share of section score achieved: | 0%
3. WORKPLACE FLEXIBILITY AND FUNTIONALITY (3 Sections, 30 Points Total):
Flexibility and connectivity are essential for the success of an internal and external mobile work environment. Equipment and technology support these elements and optimize communication, productivity and collaboration effectiveness. All employees should have access to resources, amenities, and alternative ways of working to accomplish their job functions. For example: common work areas used by all have priority in the layout; space allocation is based upon job functions being performed, rather than status, grade, or hierarchy; when appropriate to their job function, employees have access to natural light and exterior views from their primary workspace.
3.1 Flexibility
Elements |  |  |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Workplace Flexibility | 1 | All workplace furniture components, including those in conference and training rooms, can be easily reconfigured and modified. |  | 8.333% | [5 empty] | 12.5 | 0
|  | 2 | Large training and meeting spaces that are easily sub-divided into a variety of sizes to serve different functions while providing acceptable sound separation when in use. |  | 8.333% | [5 empty] | 12.5 | 0
|  | 3 | An appropriate mix of workspace settings accommodates a variety of concentration and collaboration activities. |  | 8.333% |  |  |  |  | GSA WORKPLACE SOLUTIONS LIBRARY/ GSA SOUND MATTERS. PROVIDE APPROPRIATE HYPERLINKS TO THE APPLICABLE PART OF THESE DOCUMENTS | 12.5 | 0
|  | 4 | The workplace provides an appropriate range of work settings and options necessary for employees to perform a variety of tasks and functions specific to their work. |  | 8.333% |  |  |  |  | GSA WORKPLACE SOLUTIONS LIBRARY/ GSA SOUND MATTERS. PROVIDE APPROPRIATE HYPERLINKS TO THE APPLICABLE PART OF THESE DOCUMENTS | 12.5 | 0
[5 empty] | 33.33% | [5 empty] | 50 | 0
| Work / Life Flexibility | 5 | Employees are able to choose their primary work location |  | 16.67% |  | A primary work location is where an employee performs a majority of their duites | Customer Representative |  |  | 25
|  | 6 | Employees are offered flexible work schedules |  | 16.67% |  | Flexible work schedules include any ability to differ from the standard work schedule of the organization | Customer Representative |  |  | 25
|  |  | Flexibility Score | 0 | / 10 Points for section | [5 empty] | 10
|  |  | Share of section score achieved: | 0%
3.2 Mobility and Connectivity
Elements |  |  |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Mobility & Connectivity | 1 | Workplace utilizes temporary, unreserved desks to maximize occupancy and space utilization (when appropriate to the work pattern). |  | 14.29% |  |  | Customer Representative |  |  | 20 | 0
|  | 2 | The IT infrastructure accommodates internal/external mobile work and flexibility for employees to accomplish work anywhere / anytime. |  | 14.29% |  |  | Customer Representative or IT Manager |  |  | 20 | 0
|  | 3 | Virtual meeting technology and software for teleconferencing and/or video conferencing is provided on laptops. |  | 14.29% |  |  | Customer Representative or IT Manager |  |  | 20 | 0
|  | 4 | Voice over internet phone (VOIP) and/or mobile cell phone is the primary telephone service. |  | 14.29% |  |  | Customer Representative or IT Manager |  |  | 20 | 0
|  | 5 | Secured wireless access network is provided throughout the internal workplace. |  | 14.29% |  |  | Customer Representative or IT Manager |  |  | 20 | 0
|  | 6 | The agency institutes scheduling and time management through technology. |  | 14.29% |  | Examples of scheduling and time management technology might include online calendars, to-do lists, and note taking. It can also include project management and time tracking software. | Project Manager or Customer Representative |  |  | 20
|  | 7 | The agency provides tools to outfit new workplaces outside the office. |  | 14.29% |  | This inclues software, hardware, and office supply tools to create workspaces outside of the traditional office setting. | Project Manager or Customer Representative |  |  | 20
[5 empty] | Mobility Subtotal | [5 empty] | 100 | 0
|  |  | Mobility Score | 0 | / 10 Points for section | [5 empty] | 10
|  |  | Share of section score achieved: | 0%
3.3 Access and Functionality
Elements |  |  |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Spatial Clarity | 1 | Workplace space guidelines were established based upon documented work tasks and patterns, required business processes, and other mission drivers. |  | 8.333% |  |  | Customer Representative |  |  | 8.3333 | 0
|  | 2 | The overall utilization rate for the workplace is in line with the agency standards and indicates efficient allocation of space. (SELECT FROM DROP DOWN NEXT COLUMN AT RIGHT) |  | 8.333% |  |  | Customer Representative |  |  | 8.3333 | 0
|  | 3 | As appropriate to meet mission requirements and job functions, the customer has established mobile work policies for all eligible employees. |  | 8.333% |  | Mobile work policies can include work from home or a hybrid work schedule availability for anyone who doesn't have to be in person to perfrom key job functions. | Customer Representative |  |  | 8.3333 | 0
|  | 4 | Building security and/or secured office access provides adequate safety precautions for all employees and visitors. |  | 8.333% |  |  | Customer Representative or Facility Manager |  |  | 8.3333 | 0
|  | 5 | The workplace incorporates universal design considerations to provide accessibility for a diversity of needs in all spaces. |  | 5.556% |  | Universal design is designing an environment so it can be accessed and understood by all people regardless of age, size, ability, and more. | Customer Representative | Information on Section 508 from GSA |  | 5.5556
| Workplace Flexibility and Functionality | 6 | At least 3 different types of group meeting spaces are included in the design, (flexible team rooms, booth seating, auditorium style, board rooms, etc). |  | 5.556% |  | A DEI plan is the policies and programs used to promote the representation and participation of all people. | Customer Representative or Facility Manager |  |  | 5.5556
|  | 7 | State of the art hybrid meeting technology is included in meeting room design to facilitate clear and accurate communications. |  | 5.556% |  | Sensory processing is the effecive registration and interpretation of sensory input from the environment, sensory controls can aid those who need it with processing. Sensory controls may include adjustable lighting or providing workplaces with different levels of sound. | Customer Representative |  |  | 5.5556
|  | 8 | The workplace has established and implemented regular healthy worksite programming for occupants. (ergonomic check-ups, healthy noise-level workshops, walking tours, etc.) (Fitwel 8.11) |  | 5.556% |  | Opportunity includes an accessible way to share ideas that are seriously considered regardless of employee., this includes accepting all ideas in practice and not just in policy. | Customer Representative or Facility Manager | Fitwel 8.11 |  | 5.5556
|  | 9 | The workplace conducts an annual workplace satisfaction survey for regular occupants. (Fitwel 8.12) |  | 5.556% |  | Meeting formats can include brainstorming, update sharing, problem solvings, and more. They can also vary in what technology they utilize to further accomodate employees. | Customer Representative or Facility Manager | Fitwel 8.12 |  | 5.5556
|  | 10 | The workplace implements a stakeholder collaboration process to evaluate and implement improvements to the workplace. (Fitwel 8.13) |  | 5.556% |  | Employees hired will be elligible for telework or work in their area regardless of where they live. | Customer Representative or Facility Manager | Fitwel 8.13 |  | 5.5556
| Digital Equity | 11 | The agency has implemented digital best practices for engaging with a distributed team to maintain equity of experience. |  | 11.11% |  | An equity of experience includes utilizing tools for team meetings and management that work for all memebrs of the team. Ways to engage virtually include updated meeting technology, engaging meeting activies, and colborative documentation of work. | Customer Representative |  |  | 11.1111
|  | 12 | The agency has implemented new ways to prioritize serendipitous connections with distributed team members. |  | 11.11% |  | Serendipitous connections can include getting to know coworkers outside of work and other organization culture based activities. This can include virtual team building activities and incorporating outside of work questions at regular meetings. | Customer Representative |  | Hotwall Technology, Linkedin.gov | 11.1111
|  | 13 | The agency works to make sure remote or hybrid employees remain connected to the organizational culture by enabling remote access to special events. |  | 11.11% |  | Special events include extra activities outside the original scope of work. This could include virtual water coolers, new training opporunities, and more. | Customer Representative |  |  | 11.1111
[5 empty] | Section Subtotal | [5 empty] | 33.3333 | 0
|  |  | Section Score | 0 | / 10 Points for section | [5 empty] | 10
|  |  | Share of section score achieved: | 0%
4. SENSE OF PLACE (1 Section, 10 Points Total):
A strong sense of place will convey the customer's mission, business, and culture; and it will reflect the region and environment in which the workplace exists. The first impression and professional character sets the tone of the workplace and its identity.
Elements |  |  |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Organizational Identity | 1 | The workplace entrance is easily identifiable from the main lobby and/or building floor elevator lobby. |  | 10% | [5 empty] | 10 | 0
|  | 2 | The main entrance area is welcoming, “brands” (identifies) the agency, offers visitor seating, and displays information about the agency’s mission. |  | 10% | [5 empty] | 10 | 0
|  | 3 | Similar furniture styles/systems and interior finishes are coordinated in a consistent manner throughout the entire workplace. |  | I0% | [5 empty] | 10 | 0
|  | 4 | Interior signage is consistent in style and color throughout the workspace and wayfinding is easy based on logic and orienting views. |  | 10% | [5 empty] | 10 | 0
|  | 5 | Coordinated finish colors are used throughout the workplace to provide visual interest, way-finding, and aesthetic appeal. |  | 10% | [5 empty] | 10 | 0
| Biophilia | 6 | A biophilia plan is developed that includes a description of how the project incorporates natural features throughout the office (e.g. nature patterns, environmental elements, lighting, space layout, or other design features that provide human-nature interactions). |  | 25% | [5 empty] | 25 | 0
|  | 7 | Most (80%) of desks have views that contain biophilic content either inside or outside the space that reference the color, texture or patterns of the natural world in which the project resides. |  | 25% |  |  |  | Fitwel 7.2 |  | 25 | 0
[5 empty] | 100% | [5 empty] | 100 | 0
|  |  | Sense of Place Score? | 0 | / 10 Points for section | [5 empty] | 10
|  |  | Share of section score achieved: | 0%
5. EXTRA CREDIT (10 Points Total):
If the scorecard subtotal at the end of the Section VI. "Sense of Place" (above) is less than 100 points, elements in Section VII. "Extra Credits" are available to enhance the final score. However, the maximum final score is 100 and no extra credit is granted if there are any
Elements |  |  |  | Criteria | Weight | Notes / Observations | Instructions | Who | Resource(s) | Source | POINTS | SCORE
| Third-Party Certifications | 1 | A registered architect or accredited interior designer with a demonstrated understanding of workplace strategy was the primary design consultant on the project. |  | 5% |  |  | Project Manager |  |  | 10 | 0
|  | 2 | The base building has achieved or will achieve LEED certification of Silver or higher. |  | 10% |  |  | Facility Manager or Project Manager |  |  | 20 | 0
|  | 3 | The base building has achieved or will achieve WELL certification. |  | 10% |  |  | Facility Manager or Project Manager |  |  | 20 | 0
|  | 4 | The base building has achieved or will achieve Fitwel certification. |  | 10% |  |  | Facility Manager or Project Manager |  |  | 20 | 0
|  | 5 | The workplace (interior space) has achieved or will achieve a LEED Commercial Interior (CI) certification. |  | 10% |  |  | Workplace Specialist or Project Manager |  |  | 20 | 0
|  | 6 | All workplace furniture products are BIFMA Level 1 certified, if available. |  | 10% |  |  | Project Manager or Procurement Professional |  |  | 20 | 0
| IEQ Measurement | 7 | Monitors measure 2 of the following pollutants in a regularly occupied space (minimum one per floor) within the building, at intervals no longer than once an hour, and results are annually transmitted to IWBI or Plant a Sensor Campaign: Option 1: Particle count (resolution 1,000 counts per ft³ or finer) or particle mass (resolution10 μg/m³ or finer) AND/OR Option 2: Carbon dioxide resolution 25 ppm or finer AND/OR Option 3: Ozone resolution 10 ppb or finer |  | 5% |  |  | Facility Manager or Lighting Designer |  |  | 10 | 0
|  | 8 | "Monitors measure 2 of the following pollutants in a regularly occupied space (minimum one per floor) within the building, at intervals no longer than once an hour, and results are annually transmitted to IWBI or Plant a Sensor Campaign: Option 1: Particle count (resolution 1,000 counts per ft³ or finer) or particle mass (resolution10 μg/m³ or finer) AND/OR Option 2: Carbon dioxide resolution 25 ppm or finer AND/OR Option 3: Ozone resolution 10 ppb or finer " |  | 5% |  |  | Facility Manager or Mechanical Designer |  | WELL | 10 | 0
|  | 9 | Monitoring equipment installed to verify, via direct measurement, that supply air PM2.5 levels are within ranges established by the RESET Standard; in leased facilities, a process is documented to respond with mitigation actions when levels exceed that range. |  | 5% |  |  | Facility Manager, Mechanical Designer, or Customer Representative (leased) |  | RESET with GSA Modification. The ability of a low-cost sensor to provide an accurate and reliable (i.e. stable) PM2.5 measurement in a moving airstream in a duct remains an open question in our industry - area of active investigation and development. Decision for GSA: Whether to set a requirement for measurement validation - example: Which third-party sensor data quality verifications will you accept? At present I don’t know of one besides RESET that is as comprehensive; and, for that, worth confirming the latest on how they test the in-duct hardware. But vendors will also have their own testing and verification paperwork - will this be acceptable? | 10 | 0
| IEQ Transparency | 10 | Real-time display of Temperature AND Humidity are made available per 10,000 ft² of regularly occupied space |  | 5% |  |  | Workplace Specialist or Facility Manager |  |  | 10 | 0
|  | 11 | Real-time display of CO2 concentration are made available per 10,000 ft² of regularly occupied space |  | 5% |  |  | Workplace Specialist or Facility Manager |  |  | 10 | 0
|  | 12 | Project requirements state that final payment will be withheld until indoor environmental quality requirements are met. |  | 5% |  |  | Project Manager |  |  | 10 | 0
| Miscellaneous | 13 | The workplace is located within a renovated historic building. |  | 5% |  |  | Workplace Specialist or Project Manager |  |  | 10 | 0
|  | 14 | The workplace is designed to maintain Relative Humidity (RH) between 40-60% |  | 5% |  |  | Facility Manager or Mechanical Designer |  |  | 10 | 0
|  | 15 | Finished ceilings are 10 feet or higher above the finished floor. |  | 5% |  |  | Workplace Specialist or Facility Manager |  |  | 10 | 0
|  |  | Extra Credit Subtotal |  | 0 | [5 empty] | 200 | 0
|  |  | Extra Credit Score | 0 | [6 empty] | 10
|  |  | Share of section score achieved: | 0%
WORKPLACE SCORECARD SUMMARY:
|  |  |  | Available Points | Project Score | Category
|  |  |  | 10 | 0 | I. Engagement
|  |  |  | 50 | 0 | II. Health & Comfort
|  |  |  | 30 | 0 | III. Flexibility, Connectivity & Mobility
|  |  |  | 10 | 0 | IV. Sense of Place
|  |  | Total Possible Points / Score | 100 | 0 | Earned Score (max 100 points)
|  |  |  | 10 | 0 | V. Extra Credits (only if EARNED SCORE is below 100 pts)
[5 empty] | 0 | SCORECARD TOTAL

## IEQ Logic (hidden)
Zone Air Distribution Effectiveness (Ez)
Code | Air Distribution Configuration | Ez | Standard 62.1 Outdoor Air Rates (Table 6-1)
CS | Ceiling supply of cool air | 1 |  | IP |  | Default Occupant Density | Window to Wall Ratio | Window Configuration | Wall Configuration |  | Ventilation Capacity |  | Ventilation Configuration | Ventilation Budget (CFM/person) | Office Density | Conference Room Density |  | CO2 Threshold |  | Thermal Control |  | Dedicated Outdoor Air System |  | Demand Control Ventilation |  | Thermal Zone Size |  | Less than 170 USF/Person | 25
CSFR | Ceiling supply of warm air and floor return | 15 | Occupancy Category | Rp (cfm/per) | Ra (cfm/ft2) | #/1000 ft2 (#/100 m2) | <30% | Single (0 Pts) | No insulation (walls hot or cold to touch) | 0 | Conventional (Meet ASHRAE 62.1, or, DCV maintains 1,000-1,200ppm CO2) | 0 | Minimum Damper Position | 5 | <4 | <45 | 2 | No | 0 | No visible thermostat in work area | 0 | DOAS is present | 20 | Demand control ventilation in all open office spaces and controls set to properly ventilate space before system turns off at night. Economizer is active | 2 | <5 seats per thermostat (open office); or 1 thermostat per private Office | 10 | 170 to 200 USF/Person | 0
CSCRH | Ceiling supply of warm air 15°F (8°C) or more above space temperature and ceiling return | 10 | Art classroom | 10 | 0.18 | 20 | 30-40% | Double (1 Pt) | Minimal insulation (walls warm or cool to touch) | 5 | Enhanced (Exceed ASHRAE 62.1 by 30%, or, DCV maintains 800-900ppm CO2 max) | 20 | Sensed CO2 - Return Air Stream | 8 | 5 | 50 | 1.5 | Yes, with a CO2 threshold of 1200 | 1 | Thermostat present with no visible readout | 4 | No DOAS, but controls are in place to increase ventilation rates in swing season | 10 | Demand control ventilation and economizer active in conference rooms only | 1.5 | Between 5-15 seats per thermostat (open office) or no more than 2 private offices served by the same thermostat | 5 | More than 200 USF/Person | -5
CSCRW | Ceiling supply of warm air less than 15°F (8°C) above space temperature and ceiling return provided that the 150 fpm (0.8 m/s) supply air jet reaches to within 4.5 ft (1.4 m) of floor level. Note: For lower velocity supply air, Ez = 0.8. | 15 | Auditorium seating area | 5 | 0.06 | 150 | >40% | Triple (2 Pts) | Insulation per 2010 Energy Code or better (walls same temp as air) | 20 | Stringent (Meet CA Title 24 Sec 120.1, or, DCV maintains 700-800ppm CO2 max) | 40 | Sensed CO2 - Space by Space | 10 | >6 | >55 |  | Yes, with a CO2 threshold of 1000 | 3 | Thermostat present with visible readout of temperature but no ability to change setpoint | 8 | No DOAS | 0 | Demand control ventilation and economizer active in all open office spaces | 1 | >15 seats per thermostat; Greater than 2 private offices served by the same thermostat | 0
FSCR | Floor supply of cool air and ceiling return provided that the 150 fpm (0.8 m/s) supply jet reaches 4.5 ft (1.4 m) or more above the floor. Note: Most underfloor air distribution systems comply with this proviso. | 15 | Bank vaults/safe deposit | 5 | 0.06 | 5 | [11 empty] | Yes, with a CO2 threshold of 800 |  | Thermostat present with visible readout of temperature and ability to change setpoint | 10 |  |  | No demand control ventilation or economizer used in workspace | 0
FSCR-LV | Floor supply of cool air and ceiling return, provided low-velocity displacement ventilation achieves unidirectional flow and thermal stratification | 20 | Banks or bank lobbies | 7.5 | 0.06 | 15 | [11 empty] | Yes, with a CO2 threshold of 600
FSFR | Floor supply of warm air and floor return | 15 | Barbershop | 7.5 | 0.06 | 25 | [15 empty] | DOAS is present |  | Lighting: Window Treatments |  | Lighting: Exterior Shading
FSCRW | Floor supply of warm air and ceiling return | 9 | Barracks sleeping areas | 5 | 0.06 | 20 | [15 empty] | No DOAS, but economizer and controls are in place to increase ventilation rates in swing season |  | None | 0 | None | 0
MUEX | Makeup supply drawn in on the opposite side of the room from the exhaust and/or return | 10 | Bars, cocktail lounges | 7.5 | 0.18 | 100 | [15 empty] | No DOAS or economizer |  | User-adjustable | 5 | 1 Feature | 5
MU-EX | Makeup supply drawn in near to the exhaust and/or return location | 5 | Beauty and nail salons | 20 | 0.12 | 25 | [17 empty] | User-adjustable with established, well communicated protocols | 7 | 2 Features | 7
Source: ASHRAE 62.1, Table 6-2 |  |  | Bedroom/living room | 5 | 0.06 | 10 | [15 empty] | Variable Air Volume with Reheat |  | Automated by light sensor | 9 | 3 Features | 9
|  |  | Booking/waiting | 7.5 | 0.06 | 50 | [15 empty] | Variable Air Volume no Reheat
|  |  | Bowling alley (seating) | 10 | 0.12 | 40 | [15 empty] | Constant Volume |  | Acoustics: Assemblies |  | Amenities: Walkscore
|  |  | Break rooms | 5 | 0.06 | 25 | [17 empty] | A/E required to provide narrative description of acoutical design | 1 | 50 | 10
|  |  | Cafeteria/fast-food dining | 7.5 | 0.18 | 100 | [17 empty] | NRC .7 or less | 0 | 70 | 15
|  |  | Cell | 5 | 0.12 | 25 | [17 empty] | NRC .8 or better | 10 | 90 | 20
|  |  | Classrooms (age 9 plus) | 10 | 0.12 | 35 | [17 empty] | NRC .9 or better | 20 | N/A | 0
|  |  | Classrooms (ages 5–8) | 10 | 0.12 | 25 | [17 empty] | Pre occupancy noise survey required to confirm | 1
|  |  | Coffee stations | 5 | 0.06 | 20
|  |  | Coin-operated laundries | 7.5 | 0.06 | 20
|  |  | Common corridors | 0 | 0.06
|  |  | Computer (not printing) | 5 | 0.06 | 4
|  |  | Computer lab | 10 | 0.12 | 25
|  |  | Conference/meeting | 5 | 0.06 | 50
|  |  | Corridors | 0 | 0.06 | 0
|  |  | Courtrooms | 5 | 0.06 | 70
|  |  | Daycare (through age 4) | 10 | 0.18 | 25
|  |  | Daycare sickroom | 10 | 0.18 | 25
|  |  | Dayroom | 5 | 0.06 | 30
|  |  | Disco/dance floors | 20 | 0.06 | 100
|  |  | Dwelling unit | 5 | 0.06 | 2
|  |  | Electrical equipment rooms | 0 | 0.06 | 0
|  |  | Elevator machine rooms | 0 | 0.12 | 0
|  |  | Gambling casinos | 7.5 | 0.18 | 120
|  |  | Game arcades | 7.5 | 0.18 | 20
|  |  | General manufacturing (excludes heavy industrial and processes using chemicals) | 10 | 0.18 | 7
|  |  | Guard stations | 5 | 0.06 | 15
|  |  | Gym, stadium (play area) | 0 | 0.3 | 30
|  |  | Health club/aerobics room | 20 | 0.06 | 40
|  |  | Health club/weight rooms | 20 | 0.06 | 10
|  |  | Kitchen (cooking) | 7.5 | 0.12 | 20
|  |  | Laundry rooms within dwelling units | 5 | 0.12 | 10
|  |  | Laundry rooms, central | 5 | 0.12 | 10
|  |  | Lecture classroom | 7.5 | 0.06 | 65
|  |  | Lecture hall (fixed seats) | 7.5 | 0.06 | 150
|  |  | Legislative chambers | 5 | 0.06 | 50
|  |  | Libraries | 5 | 0.12 | 10
|  |  | Lobbies | 5 | 0.06 | 150
|  |  | Lobbies/prefunction | 7.5 | 0.06 | 30
|  |  | Main entry lobbies | 5 | 0.06 | 10
|  |  | Mall common areas | 7.5 | 0.06 | 40
|  |  | Media center | 10 | 0.12 | 25
|  |  | Multipurpose assembly | 5 | 0.06 | 120
|  |  | Multi-use assembly | 7.5 | 0.06 | 100
|  |  | Museums (children’s) | 7.5 | 0.12 | 40
|  |  | Museums/galleries | 7.5 | 0.06 | 40
|  |  | Music/theater/dance | 10 | 0.06 | 35
|  |  | Occupiable storage rooms for liquids or gels | 5 | 0.12 | 2
|  |  | Occupiable storage rooms for dry materials | 5 | 0.06 | 2
|  |  | Office space | 5 | 0.06 | 5
|  |  | Pet shops (animal areas) | 7.5 | 0.18 | 10
|  |  | Pharmacy (prep. area) | 5 | 0.18 | 10
|  |  | Photo studios | 5 | 0.12 | 10
|  |  | Places of religious worship | 5 | 0.06 | 120
|  |  | Reception areas | 5 | 0.06 | 30
|  |  | Restaurant dining rooms | 7.5 | 0.18 | 70
|  |  | Sales | 7.5 | 0.12 | 15
|  |  | Science laboratories | 10 | 0.18 | 25
|  |  | Shipping/receiving |  | 0.12 | 0
|  |  | Sorting, packing, light assembly | 7.5 | 0.12 | 7
|  |  | Spectator areas | 7.5 | 0.06 | 150
|  |  | Sports arena (play area) | 0 | 0.3 | 0
|  |  | Stages, studios | 10 | 0.06 | 70
|  |  | Storage rooms | 0 | 0.12 | 0
|  |  | Supermarket | 7.5 | 0.06 | 8
|  |  | Swimming (pool & deck) | 0 | 0.48 | 0
|  |  | Telephone closets | 0 | 0 | 0
|  |  | Telephone/data entry | 5 | 0.06 | 60
|  |  | Transportation waiting | 7.5 | 0.06 | 100
|  |  | University/college laboratories | 10 | 0.18 | 25
|  |  | Warehouses | 0 | 0.06 | 0
|  |  | Wood/metal shop | 10 | 0.18 | 20